Schedule 6

LEVELS 2 AND 3 INTERCONNECTION REQUEST FORM FOR SMALL GENERATING FACILITY

Section 1. Interconnection Customer Information

Name:_______________________________________________________

Contact person:________________________________________________

Mailing address:________________________________________________

City, State, Zip:_________________________________________________

Telephone (Day):___________________    (Evening):___________________

Fax:_________________________    Email:__________________________

Alternative contact information

Contact Name:__________________________________________________

Title:__________________________________________________________

Mailing Address:_________________________________________________

City, State, Zip:__________________________________________________

Telephone (Day):__________________   (Evening):____________________

Fax:_________________________    Email:__________________________

Application is for:  New Small Generating Facility _____ Capacity addition _____

If capacity addition to existing facility, please describe:

_________________________________________________________________

The Small Generating Facility will supply:  Interconnection Customer _____ Others___

Point of Interconnection:______________________________________________

Interconnection Customer's requested in-service date:__________________

This Interconnection Request Form is considered complete when the Interconnection Customer provides all applicable and correct information required in this Schedule 6 and complies with the processing fee in Section 2 of this Schedule.

An Interconnection Customer who requests a commission jurisdictional interconnection must submit this Interconnection Request Form by hand delivery, mail, email, or fax to the utility.

Request for:

Level 2 Process_____

Level 3 Process_____

Standby Generator / Closed Transition_____

Section 2. Processing Fee and Deposit

If the interconnection request is submitted as Level 2, the nonrefundable processing fee payable to the utility is $1,000.

If the interconnection request is submitted as Level 3, the IC shall submit to the utility a nonrefundable processing fee of $1,000. Upon being designated by the Utility as a Project A or if the IC elects to proceed with the Project B, Level 3 Interconnection Customers shall also be obligated to submit an interconnection request study deposit of $10,000 plus $1.00 per kWAC.

An IC transferring from the Level 1 process shall pay the nonrefundable processing fee of $1,000 minus any previously paid Level 1 processing fee.

An IC transferring from the Level 2 to the Level 3 process shall not be required to pay an additional $1,000 processing fee.]

If the SGF is a standby generating facility, the interconnection request [shall be designated a Project A and the IC shall be obligated to submit an interconnection request] study deposit [of] $5,000 [in conjunction with the initial study agreement as provided for in 20VAC5-314-38 and 20VAC5-314-70].

If the interconnection request is submitted solely due to a transfer of ownership or change of control of the SGF, the nonrefundable processing fee is $500.

Section 3. Small Generating Facility Information

Data apply only to the small generating facility, not the interconnection facilities.

SGF Location (if different from information listed in Section 1 of this Schedule):

Site Address:___________________________________________________________

City, State, Zip:__________________________________________________________

Utility and Account Number:________________________________________________

Energy Service Provider and Account Number:_________________________________

If not available prior to the completion of the Interconnection Request Form, the Interconnection Customer must provide an address for SGF that has been issued conforming to the 911 emergency response group for the area to the utility within 15 business days of issuance.

Primary energy source

Choose one:

| Renewable | Nonrenewable |
| --- | --- |
| ☐ Solar – Photovotaic ☐ Solar – Thermal ☐ Biomass – Landfill Gas ☐ Biomass – Manure Digester Gas ☐ Biomass – Directed Biogas ☐ Biomass – Solid Waste ☐ Biomass – Sewer Digester Gas ☐ Biomass – Wood ☐ Biomass – Other (please specify) ☐ Hydro Power – Run of River ☐ Hydro Power – Storage ☐ Hydro Power – Tidal ☐ Hydro Power – Wave ☐ Wind ☐ Geothermal ☐ Battery ☐ Other (please specify) | ☐ Fossil Fuel – Diesel ☐ Fossil Fuel – Natural Gas (not waste) ☐ Fossil Fuel – Oil ☐ Fossil Fuel – Coal ☐ Fossil Fuel – Other (please specify) ☐ Other (please specify) |

Prime mover

Choose one:

| ☐ Photovotaic (PV) ☐ Fuel Cell ☐ Reciprocating Engine ☐ Gas Turbine | ☐ Steam Turbine ☐ Micro-Turbine ☐ Other, Including Combined Heat and Power (please specify) |
| --- | --- |

Type of generator

Choose one:

| ☐ Inverter-Based Machine ☐ Induction ☐ Synchronous ☐ Other (please specify) |  |
| --- | --- |

Additional comments

___________________________________________________________

___________________________________________________________

___________________________________________________________

Is the SGF located in utility's service area?

Yes _____ No _____  If No, please provide name of local provider:

Generator nameplate rating: _____kW _____ Generator nameplate kVAR: _____

Interconnection customer or customer-site load: _____kW

Typical reactive load: _______________

Maximum generating capacity requested: __________kWAC

List components of the small generating facility equipment package that are currently certified:

| Equipment | Certifying Entity |
| --- | --- |
| 1. _______________________________ | 1. _______________________________ |
| 2. _______________________________ | 2. _______________________________ |
| 3. _______________________________ | 3. _______________________________ |
| 4. _______________________________ | 4. _______________________________ |
| 5. _______________________________ | 5. _______________________________ |

Is the prime mover compatible with the certified protective relay package?

Yes _____ No _____

Generator (or solar collector)

Manufacturer, Model Name, and Number:_______________________________

Version Number:________________________________________________

Nameplate Output Power Rating in kW: (Summer) __________ (Winter) __________

Nameplate Output Power Rating in kVA:  (Summer) __________ (Winter) __________

Individual Generator Power Factor

Rated Power Factor:  Leading: __________ Lagging: __________

Total number of generators in wind farm to be interconnected pursuant to this interconnection request:  Elevation: __________ Single Phase __________ Three Phase __________

Inverter Manufacturer, Model Name, and Number: __________

List of adjustable set points for the protective equipment or software: __________

Note:  A completed power systems load flow data sheet must be supplied with the interconnection request.

Small Generating Facility Characteristic Data (for inverter-based machines)

Max design fault contribution current: ______ Instantaneous ______ or RMS ______

Harmonics characteristics:________________________________________________

Start-up requirements:___________________________________________________

Small Generating Facility Characteristic Data (for rotating machines)

RPM Frequency: ____________________________________

Neutral Grounding Resistor (if applicable):_________________________________________

Synchronous Generators:

Direct Axis Synchronous Reactance, Xd:____________________________________P.U.

Direct Axis Transient Reactance, Xd: ____________________________________P.U.

Direct Axis Subtransient Reactance, Xd: ____________________________________P.U.

Negative Sequence Reactance, X2: ____________________________________P.U.

Zero Sequence Reactance, X0: ____________________________________P.U.

KVA Base: ____________________________________

Field Volts: ____________________________________

Field Amperes: _________________________________

Induction Generators:

Motoring Power (kW):____________________________________

I2t or K (Heating Time Constant):___________________________

Rotor Resistance, Rr:____________________________________

Stator Resistance, Rs:____________________________________

Stator Reactance, Xs:____________________________________

Rotor Reactance, Xr:____________________________________

Magnetizing Reactance, Xm:______________________________

Short Circuit Reactance, Xd:______________________________

Exciting Current:____________________________________

Temperature Rise:____________________________________

Frame Size:____________________________________

Design Letter:____________________________________

Reactive Power Required In Vars (No Load):____________________________________

Reactive Power Required In Vars (Full Load):____________________________________

Total Rotating Inertia, H:____________________________________Per Unit on kVA base

Excitation and Governor System Data for Synchronous Generators Only:

Provide appropriate IEEE model block diagram of excitation system, governor system, and power system stabilizer (PSS) in accordance with the regional reliability council criteria. A PSS may be determined to be required by applicable studies. A copy of the manufacturer's block diagram may not be substituted.

Section 4. Customer's Interconnection Facilities Information

Will a transformer be used between the generator and the point of interconnection?

Yes _____ No _____

Will the transformer be provided by the IC? Yes _____ No _____

Transformer Data (If applicable, for IC-owned transformer):

Is the transformer:  		Single Phase		Three Phase		Size:  kVA

Transformer Impedance:	______% on		______ kVA base

If Three Phase:

Transformer Primary:	____ 	Volts _____	Delta _____	Wye _____	Wye Grounded

Transformer Secondary: ___	Volts _____	Delta _____	Wye _____	Wye Grounded

Transformer Tertiary: ____	Volts _____	Delta _____	Wye _____	Wye Grounded

Transformer Fuse Data (if applicable, for IC-owned fuse):

(Attach copy of fuse manufacturer's minimum melt and total clearing time-current curves.)

Manufacturer: ________________	Type: __________	Size: _____	Speed: ______

Interconnecting Circuit Breaker (if applicable):

Manufacturer: ______________________________	Type: __________

Load Rating (amps): ___	Interrupting Rating (amps): ___	Trip Speed (cycles): ___

Interconnection Protective Relays (if applicable):

If Microprocessor-Controlled:

Manufacturer: ______________________________	Type: __________

Model No. __________ Firmware ID: ________		Instruction Book No. _______

List of functions and adjustable setpoints for the protective equipment or software:

Setpoint Function					Minimum		Maximum

1. ___________________________________	_____________	_____________

2. ___________________________________	_____________	_____________

3. ___________________________________	_____________	_____________

4. ___________________________________	_____________	_____________

5. ___________________________________	_____________	_____________

6. ___________________________________	_____________	_____________

If Discrete Components:

(Enclose copy of any proposed time-overcurrent coordination curves.)

Manufacturer: ___________	Type: ______	Style/Catalog No.: _______	Proposed Setting: ______

Manufacturer: ___________	Type: ______	Style/Catalog No.: _______	Proposed Setting: ______

Manufacturer: ___________	Type: ______	Style/Catalog No.: _______	Proposed Setting: ______

Manufacturer: ___________	Type: ______	Style/Catalog No.: _______	Proposed Setting: ______

Current Transformer Data (if applicable):

(Enclose copy of manufacturer's excitation and ratio correction curves.)

Manufacturer: __________________________________________________

Type: ______	Accuracy Class: _________	Proposed Ratio Connection: _____

Manufacturer: __________________________________________________

Type: ______	Accuracy Class: _________	Proposed Ratio Connection: _____

Potential Transformer Data (if applicable):

Manufacturer: __________________________________________________

Type: ______	Accuracy Class: _________	Proposed Ratio Connection: _____

Manufacturer: __________________________________________________

Type: ______	Accuracy Class: _________	Proposed Ratio Connection: _____

Section 5. General Information

Enclose a copy of the site electrical one-line diagram showing the configuration of the small generating facility equipment, current and potential circuits, and protection and control schemes.

Enclose a copy of any site documentation that indicates the precise physical location of the proposed SGF (e.g., United States Geological Survey topographic map or other diagram or documentation).

Describe the proposed location of the protective interface equipment on the property: _______________________________________

Enclose a copy of any site documentation that describes and details the operation of the protection and control schemes. Is available documentation enclosed? Yes _____ No _____

Enclose copies of schematic drawings for all protection and control circuits, relay current circuits, relay potential circuits, and alarm or monitoring circuits (if applicable).

Are schematic drawings enclosed? Yes _____ No _____

Section 6. Site Control

Enclose a copy of the site control documentation. Any information appearing in public records may not be labeled confidential. (Confidential information is discussed in 20VAC5-314-110.) Site control may be demonstrated through:

1.	Ownership of, a leasehold interest in, or a right to develop a site for the purpose of constructing the SGF;

2.	An option to purchase or acquire a leasehold interest in a site for such purpose;

3.	An exclusive or other business relationship between the IC and the entity having the right to sell, lease, or grant the IC the right to possess or occupy a site for such purpose; or

4.	An existing permanent service metered account with the utility at the site and in the name of the IC.

Section 7. Interconnection Customer Signature

I hereby certify that, to the best of my knowledge, all the information provided in this interconnection request is true and correct.

Signature: _____________________________________	Date: _________________

Section 8. Utility Acknowledgment of Receipt

Signed:	_________________________________

Title:	_________________________________

Utility:	_________________________________

Date:	_________________________________

Utility signature signifies only receipt of this form, in compliance with 20VAC5-314-50.