## Sheet1
2020 Distributed Solar RFP_Checklist - PPA
Virginia Economic Impact | Required | Requested
Use of VA Resources
 If applicable, please provide proof of existing business in Virginia, or license to do business in Virginia | ü
 Provide an affirmative Statement of whether or not the project is located within a Federal "Qualified Opportunity Zone" as defined by the Internal Revenue Service. |  | ü
 Description of expected use of Virginia-based labor, materials and resources | ü
Facility Design, Equipment Reliability & Operation Plan | Required | Requested
Development Experience & Qualifications
 Key Contributors summary | ü
 List of prior development projects | ü
Equipment Reliability
 List of planned equipment and technology | ü
Operating Experience, Site Plan, and Parameters
 Operations and Maintenance Plan specific to installation type (RFP Document Section III.B.7) | ü
 DC and AC Capacity | ü
 Preliminary Site Plan - Include the Following Detail | ü
o Single Axis Tracker or Fixed Tilt Designation | ü
o Property Line | ü
o Fence Lines | ü
o Point of Interconnection | ü
o Environmental Considerations |  | ü
o Identified Wetlands and Streams |  | ü
o Proposed Wetland and Stream Impacts |  | ü
o RPA Limits |  | ü
o Identified Cultural Resources |  | ü
o Identified Threatened and/or Endangered Species Habitats |  | ü
 Resource Performance Summary Report (PVSyst latest version) | ü
o 8760 Generation Profile in MS Excel format (see supplemental PVSyst specification) | ü
Development Schedule & Risk | Required | Requested
Project Development Schedule
 Development Plan (RFP Document Section III.B.6) | ü
 Anticipated Construction Schedule | ü
Interconnection
 Voluntary Consent Form - Executed | ü
 All Interconnection Application materials, including one-line, equipment specifications, site control and other ancillary documents | ü
 Copies of all Study Reports and agreements issued for the project | ü
Environmental Permitting & Approvals
 Shape file (KML, KMZ, or other file type) showing site boundary | ü
 Environmental Plan (RFP Document Section III.B.8) | ü
 Phase 1 Environmental Site Assessment (Field Assessment) | ü
 Wetland Delineation & Stream Identification Report (Field Assessment) | ü
 Jurisdictional Determination from US Army Corps of Engineers (Field Assessment) |  | ü
 Threatened & Endangered Species Review (Desktop) | ü
 Onsite Threatened & Endangered Species Habitat Assessment (Field Assessment) |  | ü
 Cultural Resources Review - Archaeological and Architectural (Desktop) | ü
 Phase 1 Cultural Resources Survey - Archaeological and Architectural (Field Assessment) |  | ü
o Provide mitigation plan for any findings (must be approved by the Virginia Department of Historic Resources ) |  | ü
Environmental Justice
 Printable Standard Report from the EPA's EJ Screen Mapper tool (https://ejscreen.epa.gov/mapper/) for a 1 mile radius from the site boundary | ü
Local Permitting Risk | Required | Requested
 Complete "Permitting Plan" in its Entirety | ü
Land Agreements | Required | Requested
 Proof of Existing Site Control: Options, Leases and Purchase Contracts are acceptable. All documents provided should have fully negotiated terms. | ü
Project Tax Credits | Required | Requested
 Provide list of any tax credits expected to apply to project and amounts | ü
Power Purchase Agreements | Required | Requested
 Provide (i) an affirmative statement that Bidder is taking no exception to the form of power purchase agreement provided pursuant to this RFP; or (ii) a fully marked-up Form Agreement reflective of its bid, and that Bidder deems execution-ready | ü
Counterparty Financial Strength | Required | Requested
 Legal Name and Current Address | ü
 Corporate Structure and Primary and Secondary Businesses Including all Legal Entity Names | ü
 Bank and Trade Reference Sheet | ü
 3 years of audited financials | ü
 Credit Package with pre-COD and post-COD credit support description | ü