## Instructions
2021 Distributed Solar RFP Checklist APA Instructions
 Proposals will need to include all diligence not listed in these checklists that may be needed for project permitting and compliance with law.
 Refer to the 2021 Solar RFP Previously Developed Site Fact Sheet for definitions and classifications concerning previously developed sites.
*Important*
 If required items are not applicable to the particular Previously Developed project, then a detailed explanation will need to be provided within the project narrative describing why the items are not applicable.
 All documents are to be uploaded into the respectively-named "SharePoint APA Upload Folder" (column D) for each required item.
 On the Checklist, indicate the file name and type containing the required information in the SharePoint APA Upload Folder column next to each item.
 Bidders should provide a completed checklist with this information for each of their projects.
Use the applicable checklist as a guide for all bid submittals:
APA-Solar
APA-Solar Previously Developed

## APA-Solar
2021 Distributed Solar RFP Checklist - Solar APA
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Virginia Economic Impact |  |  | 13_Economic Impact
Use of VA Resources
 If applicable, please provide proof of organization/incorporation of Bidder in Virginia | ü
 Description of expected use of Virginia-based labor, materials and resources | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Environmental Justice |  |  | 14_Environmental Justice
 Prepare and submit PDFs of both the “Printable Standard Report” and the “2013-2017 ACS Report” from the Environmental Protection Agency (EPA) EJSCREEN website for the 1-mile area surrounding such site. (See Environmental Justice Instruction Sheet) | ü
 Specify if the site is in an Environmental Justice (EJ) community per the Virginia Environmental Justice Act (VEJA) definitions. (See Va. Code §§ 2.2-234-235 for community definitions and policy) | ü
 If a project is determined to potentially impact an EJ community, please indicate what action has been taken within the local community regarding the Commonwealth’s VEJA policy. (For example include, targeted outreach plan, community engagement plan, evidence/tracking of public meetings etc.) | ü
 Provide any other environmental justice considerations that are relevant to the project. | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Land/Constructability Risk
Engineering |  |  | 08_Engineering
 Solar System DC and AC Capacity (MW) | ü
o 8760 Generation Profile in MS Excel format (see supplemental PVSyst specification) | ü
 Geotechnical Study (see supplemental Geotech and Push/Pull specification) |  | ü
 Push/Pull Test (see supplemental Geotech and Push/Pull specification) |  | ü
 Topographical Survey Report (LIDAR or other) With 1 Foot Contours in CAD, PDF, and KMZ Format | ü
 Site Considerations | ü
o Submit complete Site Mapping package (see Company-provided Site Constraints Mapping Instructions provided in SharePoint site) | ü
o Total usable acres (see site supplemental Mapping Specifications) | ü
o Tree clearing needed for placement of the facility (acres) | ü
o Tree clearing needed for shade relief (acres) | ü
o Timbering outside of LOD or within wetlands is prohibited | ü
o Acres allocated for Erosion Control Features (e.g sediment basins during-construction) | ü
o Silt fencing must maintian a 50' minumum offset from wetlands or RPA | ü
o Acres allocated for Storm Water Management Features (e.g storm water management ponds and conserved open spaces post-construction) | ü
o Stormwater Basin Areas are to be sized for 25 acres maximum.
o Stormwater conveyances (ditches, culverts, etc.) must be sized for the 100yr-24hr storm event.
o Permanent stormwater ponds should be designed to meet the 25yr-24hr storm event.
o Estimated Balanced Cut and Fill (cubic yards) | ü
o Estimated Wetland and Stream Impact (table listing square footage of Wetlands and Stream and linear footage of Stream) | ü
Site Plans (Provide a CAD, PDF and KMZ file) |  |  | 09_Site Plans
 Preliminary Site Plan - Include the Following Detail | ü
o Single Axis Tracker or Fixed Tilt Designation | ü
o Property Line | ü
o Fence Lines | ü
o Site entrance(s) from public right-of-way | ü
o Interior roads and turnarounds | ü
o If a lease scenario, provide improvements required for Landowner to access unleased land or adjacent parcels | ü
o Existing Road Crossings of Wetlands and Streams (Identify Crossing Type - At Grade, Culverted, Bridged, etc) | ü
o Existing ponds/impoundments on the site and all adjacent properties | ü
o Buffers & Setbacks | ü
o Required Screening | ü
o Point of Interconnection | ü
o Existing Utility Easements | ü
o Proposed Utility Easements | ü
o Environmental Considerations | ü
o Identified Wetlands and Streams | ü
o Proposed Wetland and Stream Impacts | ü
o RPA Limits | ü
o Identified Cultural Resources | ü
o Identified Threatened and/or Endangered Species Habitats | ü
o Any other known encumbrances | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Interconnection |  |  | 10_Interconnection
Projects Interconnecting through the Virginia State Interconnection Process
 Voluntary Consent Form - Executed | ü
 All interconnection application materials including application forms, one-line diagram, equipment specifications, site control and other ancillary documents | ü
 Copies of all Study Reports (issued for the project to date) and proof of payment | ü
 Copy of the Interconnection Agreement, if available at time of bid submittal | ü
 Completed interconnection summary sheet inclusive of a cost estimate for interconnection and the cost of Dominion-owned Direct Transfer Trip fiber | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Local Permitting Risk |  |  | 12_Local Permitting
 Completed Permits in its entirety and non-appealable |  | ü
 Provide responses to each request listed in the provided Local Permitting Supplemental Information document | ü
 Facility decomissioning requirements and estimated cost (only if required by the County during the CUP/SEP process) | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Environmental |  |  | 11_Environmental
 Phase 1 Environmental Site Assessment (Field Assessment) - within 180 day timeframe | ü
 Wetland Delineation & Stream Identification Report (Field Assessment) | ü
 Jurisdictional Determination from US Army Corps of Engineers and/or State Surface Waters Determination - provide if applicable | ü
 Threatened & Endangered Species Review (Desktop) | ü
o U.S. Fish and Wildlife Service - Trust Resource List (no agency coordination) | ü
o U.S. Fish and Wildlife Service - Official Species List (w/ agency coordination) | ü
o VA Department of Wildlife Resources - VAFWIS (IPA) or WERMS database review - 2 mile search radius w/ confirmation of species observation | ü
o VA Department of Wildlife Resources - Northern Long-Eared Bat Winter Habitat & Roost Trees Map | ü
o VA Department of Wildlife Resources - Little Brown Bat and Tri-colored Bat Winter Habitat & Roosts Map | ü
o VA Department of Conservation and Recreation - Virginia Natural Heritage Database Explorer (Subscriber or Project Review level screening) | ü
 Onsite Threatened & Endangered Species Habitat Assessment (Field Assessment) | ü
 Coastal Avian Protection Zone Map w/ project location and Zone Identified | ü
 Cultural and Historical Risk Assessment conducted by a professional meeting the qualification standards of the Department of the Interior (48 FR 44738-9) | ü
 Phase 1 Cultural Resources Survey - Archaeological and Architectural (Field Assessment) and all correspondence with DHR including concurrence letter. |  | ü
Projects in Tidewater/Chesapeake Bay Preservation Area
 Chesapeake Bay Preservation Area Boundaries - Perennial Flow Determination (Field Assessment) | ü
 Chesapeake Bay Preservation Area Boundaries - Local and/or Department of Environmental Quality Approval (Field Assessment) |  | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Land Agreements |  |  | 06_Real Estate
 Complete Land Agreement Questionnaire in its entirety (Company-provided in SharePoint site) | ü
 Proof of Existing Site Control: Purchase Contracts are preferred. Options and Leases are acceptable. All documents provided should have fully negotiated terms. | ü
 All third-party utility easements, crossing agreements, and consents (existing only) | ü
 All access easements from neighboring properties (existing only) | ü
 If property is developer owned, provide a copy of all existing deeds | ü
 List of parcel numbers and tax record information | ü
 Title Commitment | ü
 Title exception documents with hyperlink in Commitment | ü
 ALTA/ACSM Land Title Survey with attached Table A Requirements in CAD Format |  | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Asset Purchase Agreements |  |  | 02_Legal
 Provide (i) an affirmative statement that Bidder is taking no exception to the form of asset purchase agreement provided pursuant to this RFP; or (ii) a fully marked-up Form Agreement reflective of its bid, and that Bidder deems execution-ready | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Counterparty Financial Strength |  |  | 03_Financials
 Legal Name and Current Address |  | ü
 Corporate Structure and Primary and Secondary Businesses Including all Legal Entity Names |  | ü
 Bank and Trade Reference Sheet |  | ü
 3 years of audited financials |  | ü
 One contact (name, telephone number and e-mail address) for each project referenced in the Bidder’s Proposal (for reference purposes) |  | ü

## APA- Solar Prev Dev
2021 Distributed Solar RFP Checklist - Prevoiusly Developed APA
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Virginia Economic Impact |  |  | 13_Economic Impact
Use of VA Resources
 If applicable, please provide proof of organization/incorporation of Bidder in Virginia | ü
 Does the site meet the Virginia definition of "Brownfield"?: "real property; the expansion, redevelopment, or reuse of which may be complicated by the presence or potential presence of a hazardous substance, pollutant, or contaminant"? (see supplemental Previously Developed Site Fact Sheet) | ü
 If not a "Brownfield", does it meet the Virginia Clean Energy Act (VCEA) definition of "previously developed project site"? (see supplemental Previously Developed Site Fact Sheet) - designate which type of property | ü
 Description of expected use of Virginia-based labor, materials, and resources | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Environmental Justice (EJ) |  |  | 14_Environmental Justice
Prepare and submit PDFs of both the “Printable Standard Report” and the “2013-2017 ACS Report” from the Environmental Protection Agency (EPA) EJSCREEN website for the 1-mile area surrounding such site. (See Environmental Justice Instruction Sheet) | ü
 Specify if the site is in an Environmental Justice (EJ) community per the Virginia Environmental Justice Act (VEJA) definitions. | ü
 If a project is determined to potentially impact an EJ community, please indicate what action has been taken within the local community regarding the Commonwealth’s VEJA policy. (For example, targeted outreach plan, community engagement plan.) | ü
 Provide any other environmental justice considerations that are relevant to the project. | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Land/Constructability Risk
Engineering |  |  | 08_Engineering
 Solar System DC and AC Capacity (MW) | ü
o 8760 Generation Profile in MS Excel format (see supplemental PVSyst specification) | ü
 Geotechnical Study, including resistivity testing and infiltration testing (see supplemental Geotech and Push/Pull specification) |  | ü
 Karst Topography Evaluation (reference VA Department of Mines, Minerals, and Energy and/or US Geologic Survey publications) | ü
 Push/Pull Test (see supplemental Geotech and Push/Pull specification) |  | ü
 Topographical Survey Report (LIDAR or other) with 1-foot contours in in CAD, PDF and KMZ Format | ü
 Site Considerations | ü
o Total usable acres (see site supplemental Mapping Specifications) | ü
o Tree clearing needed for placement of the facility (acres) | ü
o Tree clearing needed for shade relief (acres) | ü
o Timbering outside of LOD or within wetlands is prohibited
o Existing Stormwater Pollution Prevention Plan (SWPPP) | ü
o If new features are needed, acres allocated for Erosion Control Features during construction (e.g. sediment basins) and post-construction (e.g. storm water management ponds and conserved open spaces) | ü
o Demolition requirements - structures that need to be removed for site preparation, estimated demolition costs | ü
o Acres allocated for Erosion Control features (e.g. sediment basins during construction) | ü
o Silt fencing must maintain a 50' minimum offset from wetlands or RPA. | ü
o Acres allocated for Storm Water Management Features (e.g. storm water management ponds and conserved open spaces post-construction) | ü
o Stormwater Basin Areas are to be sized for 25 acres maximum. | ü
o Stormwater conveyances (ditches, culverts, etc.) must be sized for the 100yr-24hr storm event. | ü
o Permanent stormwater ponds should be designed to meet the 25yr-24hr storm event. | ü
o Estimated Balanced Cut and Fill (cubic yards) (sites are to be massed balanced) | ü
o Estimated Wetland and Stream Impact for new construction, if applicable (table listing square footage of Wetlands and Stream and linear footage of Stream) | ü
 Site Considerations specific to municipal landfill properties | ü
o Closure Plan, including cap/cover and liner design, any geotechnical information/foundation conceptual design, permit requirements | ü
o Post-Closure Monitoring Plan and any related information | ü
o Leachate and stormwater collection and treatment system information - drawings, treatment requirements | ü
 Surface Slope Analysis (target < 15%) | ü
Rooftop specific
 Structual Loading Analysis | ü
 Roof Inspection Report (demonstrating 25 year roof life from COD) | ü
 Roof Warranty | ü
 Approval Letter from Roof Guarantee Holder | ü
 Site Consideration - Rooftop Access Plan | ü
Carport specific
 Geotechnical study/adequate foundations and mounting structure design for site loading conditions | ü
 Glare Study | ü
 Fire department access/clearance | ü
 ADA-Compliant access (Americans with Disabilities Act) | ü
 Construction schedule constraints (parking lot utilization/seasonal construction window) | ü
 Relocation of existing light poles | ü
Site Plans (Provide a CAD, PDF and KMZ File) |  |  | 09_Site Plans
 Preliminary Site Plan - Include the Following Detail, note existing features vs. proposed | ü
o Single Axis Tracker or Fixed Tilt Designation | ü
o Property Line | ü
o Fence Lines | ü
o Site entrance(s) from public right-of-way | ü
o Interior Roads | ü
o If a lease scenario, provide improvements required for Landowner to access unleased land or adjacent parcels | ü
o Existing Road Crossings of Wetlands and Streams (Identify Crossing Type - At Grade, Culverted, Bridged, etc.) | ü
o Existing ponds/impoundments on the site and all adjacent properties | ü
o Existing stormwater conveyance and collection system | ü
o Buffers & Setbacks | ü
o Required Screening | ü
o Point of Interconnection | ü
o Existing Utility Easements, utility network - CAD drawings showing electrical power and distribution, water, sewer, fiber optic/telecommunications | ü
o Proposed Utility Easements | ü
o Rooftop/Carport - Shading Objects | ü
o Rooftop - Underground Utilities | ü
o Carport/Canopy - Lighting Plan | ü
o Environmental Considerations | ü
o Identified Wetlands and Streams | ü
o Proposed Wetland and Stream Impacts | ü
o RPA Limits | ü
o Identified Cultural Resources | ü
o Identified Threatened and/or Endangered Species Habitats | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Interconnection |  |  | 10_Interconnection
Projects Interconnecting through the Virginia State Interconnection Process
 Voluntary Consent Form - Executed | ü
 Interconnection Application and all materials, including one-line, equipment specifications, site control and other ancillary documents | ü
 Copies of all Study Reports issued to date, if any, for the project | ü
 Copy of the Interconnection Agreement, if available at time of bid submittal | ü
 Completed interconnection summary sheet inclusive of a cost estimate for interconnection and the cost of Dominion-owned Direct Transfer Trip fiber | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Local Permitting Risk |  |  | 12_Local Permitting
 Provide responses to each request listed in the provided Local Permitting Supplemental Information document | ü
 Completed Permit for proposed solar facilities in its entirety and non appealable |  | ü
 Facility decommissioning requirements and estimated cost (only if required by the County during the CUP/SEP process) | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Environmental |  |  | 11_Environmental
 Phase 1 Environmental Site Assessment (Field Assessment) | ü
 Phase 2 Environmental Site Assessment, if Recognized Environmental Conditions (RECs) noted during Phase 1 or legacy contamination is present | ü
 Wetland Delineation & Stream Identification Report (Field Assessment) | ü
 Jurisdictional Determination from US Army Corps of Engineers (Field Assessment) | ü
 Threatened & Endangered Species Review (Desktop) | ü
o U.S. Fish and Wildlife Service - Trust Resource List (no agency coordination) | ü
o U.S. Fish and Wildlife Service - Official Species List (w/ agency coordination) | ü
o VA Department of Wildlife Resources - VAFWIS or WERMS database review - 2 mile search radius w/ confirmation of species observation | ü
o VA Department of Wildlife Resources - Northern Long-Eared Bat Winter Habitat & Roost Trees Map | ü
o VA Department of Wildlife Resources - Little Brown Bat and Tri-colored Bat Winter Habitat & Roosts Map | ü
o VA Department of Conservation and Recreation - Virginia Natural Heritage Database Search (sub-watershed level screening) | ü
o VA Department of Conservation and Recreation - Virginia Natural Heritage Database Explorer (Subscriber or Project Review level screening) | ü
 Onsite Threatened & Endangered Species Habitat Assessment (Field Assessment) | ü
 Coastal Avian Protection Zone Map w/ project location and Zone Identified | ü
 Cultural Resources Review - Archaeological and Architectural (Desktop) | ü
 Rooftop - Documentation verifying age of building and age of roof (if different from age of building) | ü
 Rooftop - If building is older than 50 years old, provide documentation regarding VLR eligibility | ü
 Phase 1 Cultural Resources Survey - Archaeological and Architectural (Field Assessment) and all correspondence with DHR including concurrence letter |  | ü
 Cultural and Historical Risk Assessment conducted by a professional meeting the qualification standards of the Department of the Interior (48 FR 44738-9) | ü
 Administrative orders, corrective/removal actions, consent decrees, or any US of Virginia environmental permits (see Previously Developed Site Fact Sheet for specific requirements) | ü
 Environmental Land Use, Deed Restrictions, Covenants and/or Long Term Management Plans | ü
 Provide Environmental Risk Transfer Agreement, Liabilities, Insurance Policies and/or Claims, if available or applicable | ü
 Environmental Risk Transfer Strategy, if developed | ü
 Provide Environmental Risk Pathway - Site Conceptual Model (if developed) | ü
Projects in Tidewater/Chesapeake Bay Preservation Area
 Chesapeake Bay Preservation Area Boundaries - Perennial Flow Determination (Field Assessment) | ü
 Chesapeake Bay Preservation Area Boundaries - Local and/or Department of Environmental Quality Approval (Field Assessment) | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Land Agreements |  |  | 06_Real Estate
 Complete Land Agreement Questionnaire in its entirety | ü
 Proof of Existing Site Control: Purchase Contracts are preferred. Options and Leases are acceptable. All documents provided should have fully negotiated terms. | ü
 All third-party utility easements, crossing agreements, and consents (existing only) | ü
 All access easements from neighboring properties (existing only) | ü
 If property is developer-owned, provide a copy of all existing deeds | ü
 List of parcel numbers and tax record information | ü
 Title Commitment | ü
 Title exception documents with hyperlink in Commitment | ü
 Clear title for all rights on the property (mineral, water, air, land, etc.) | ü
 ALTA/ACSM Land Title Survey with attached Table A Requirements in CAD Format |  | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Asset Purchase Agreements |  |  | 02_Legal
 Provide (i) an affirmative statement that Bidder is taking no exception to the form of asset purchase agreement provided pursuant to this RFP; or (ii) a fully marked-up Form Agreement reflective of its bid, and that Bidder deems execution-ready | ü
| Required | Requested | Sharepoint APA Upload Folder | File Name | Page Number if Applicable
Counterparty Financial Strength |  |  | 03_Financials
 Legal Name and Current Address |  | ü
 Corporate Structure and Primary and Secondary Businesses Including all Legal Entity Names |  | ü
 Bank and Trade Reference Sheet |  | ü
 3 years of audited financials |  | ü
 If the property is subject to any federal, state, or local voluntary cleanup, brownfields or remediation grants, loans or programs, please name all | ü
 Potentially Responsible Parties (PRPs) Identified, if applicable | ü
 One contact (name, telephone number and e-mail address) for each project referenced in the Bidder’s Proposal (for reference purposes) |  | ü