## State Jurisdiction
Dominion Energy North Carolina Queue Status Report (Excluding Net Metering)
Data as of: | 2025-01-30
Queue No | Fuel Type | Date Queue No Assigned | Capacity (MW) | Substation | Substation Transformer | Circuit | Status | Status Description
NC11009 | Solar | 2011-11-14 | 5 | Plymouth | TX #2 | 62 340 | A | In Service
NC13001 | Solar | 2013-01-28 | 1.8 | Seaboard | TX #1 | 61 817 | C | Cancelled
NC13002 | Solar | 2013-02-11 | 5 | Hornertown | TX #3 | 61 319 | A | In Service
NC13003 | Solar | 2013-02-13 | 5 | Everetts | TX #3 | 62 325 | A | In Service
NC13004 | Solar | 2013-02-13 | 5 | Kelford | TX #1 | 67 380 | A | In Service
NC13005 | Solar | 2013-02-13 | 5 | Cashie | TX #1 | 67 360 | A | In Service
NC13006 | Solar | 2013-03-13 | 5 | Lilley | TX #1 | 62 805 | A | In Service
NC13007 | Solar | 2013-03-13 | 5 | Bethel-Carolina | TX #1 | 62 755 | A | In Service
NC13008 | Solar | 2013-03-27 | 15 | Hornertown | TX #3 | 61 319 | A | In Service
NC13009 | Solar | 2013-03-27 | 20 | Scotland Neck | TX #2 | 61 723 | A | In Service
NC13011 | Solar | 2013-05-07 | 5 | Earleys | TX #2 | 67 305 | A | In Service
NC13012 | Solar | 2013-05-07 | 19.9 | Sligo | TX #2 | 71 475 | A | In Service
NC13013 | Solar | 2013-05-10 | 14 | Chowan | TX #1 | 71 445 | C | Cancelled
NC13014 | Solar | 2013-05-28 | 5 | Parmele | TX #1 | 62 740 | C | Cancelled
NC13015 | Solar | 2013-05-28 | 5 | Battleboro | TX #3 | 61 316 | A | In Service
NC13016 | Solar | 2013-05-28 | 5 | Winfall | TX #4 | 71 420 | C | Cancelled
NC13017 | Solar | 2013-05-28 | 5 | Parmele | TX #1 | 62 735 | C | Cancelled
NC13018 | Solar | 2013-05-31 | 19.9 | Whitakers | TX #2 | 61 336 | A | In Service
NC13019 | Solar | 2013-05-31 | 16.5 | Hornertown | TX #5 | 61 320 | A | In Service
NC13020 | Solar | 2013-05-31 | 5 | Plymouth | TX #1 | 62 335 | C | Cancelled
NC13021 | Solar | 2013-06-19 | 1.4 | Carolina | TX #2 | 61 810 | C | Cancelled
NC13022 | Solar | 2013-06-24 | 12 | Riders Creek | TX #1 | 62 342 | C | Cancelled
NC13023 | Solar | 2013-07-18 | 5 | Bethel-Carolina | TX #1 | 62 755 | A | In Service
NC13024 | Solar | 2013-07-18 | 5 | Everetts | TX #3 | 62 310 | A | In Service
NC13025 | Solar | 2013-07-20 | 5 | Winfall | TX #4 | 71 423 | A | In Service
NC13026 | Solar | 2013-07-20 | 5 | Winfall | TX #5 | 71 430 | A | In Service
NC13027 | Solar | 2013-07-20 | 5 | Winfall | TX #4 | 71 420 | C | Cancelled
NC13028 | Solar | 2013-07-23 | 19.9 | Everetts | TX #3 | 62 325 | A | In Service
NC13031 | Solar | 2013-08-15 | 14 | Creswell | TX #2 | 62 370 | A | In Service
NC13032 | Solar | 2013-08-20 | 5 | Sunbury | TX #1 | 71 425 | A | In Service
NC13032A | Solar | 2013-08-20 | 5 | Sunbury | TX #1 | 71 425 | A | In Service
NC13033 | Solar | 2013-08-20 | 5 | Everetts | TX #3 | 62 325 | A | In Service
NC13034 | Solar | 2013-08-26 | 5 | Battleboro | TX #3 | 61 316 | A | In Service
NC13035 | Solar | 2013-08-28 | 5 | Tarboro | TX #1 | 62 710 | A | In Service
NC13037 | Solar | 2013-08-30 | 5 | Tarboro | TX #1 | 62 710 | A | In Service
NC13038 | Solar | 2013-08-30 | 5 | Parmele | TX #1 | 62 740 | A | In Service
NC13039 | Solar | 2013-09-11 | 5 | Tar River | TX #1 | 62 715 | A | In Service
NC13040 | Solar | 2013-09-20 | 5 | Earleys | TX #2 | 67 303 | C | Cancelled
NC13041 | Solar | 2013-10-01 | 5 | Tar River | TX #1 | 62 715 | C | Cancelled
NC13042 | Solar | 2013-10-01 | 5 | Everetts | TX #1 | 62 320 | A | In Service
NC13043 | Solar | 2013-10-02 | 5 | Northampton | TX #1 | 61 381 | A | In Service
NC13044 | Solar | 2013-10-02 | 5 | Tunis | TX #1 | 67 326 | A | In Service
NC13045 | Solar | 2013-10-02 | 5 | Woodland | TX #1 | 67 304 | A | In Service
NC13046 | Solar | 2013-10-08 | 5 | Bethel-Carolina | TX #1 | 62 755 | C | Cancelled
NC13048 | Solar | 2013-10-21 | 5 | Tunis | TX #1 | 67 326 | A | In Service
NC13049 | Solar | 2013-10-21 | 2 | Earleys | TX #1 | 67 302 | C | Cancelled
NC13050 | Solar | 2013-10-21 | 5 | Murphy | TX #1 | 67 310 | A | In Service
NC13051 | Solar | 2013-10-21 | 5 | Earleys | TX #2 | 67 305 | A | In Service
NC13052 | Solar | 2013-10-21 | 13.5 | Murphy | TX #2 | 67 309 | A | In Service
NC13053 | Solar | 2013-10-29 | 10 | Parmele | TX #1 | 62 740 | A | In Service
NC13054 | Solar | 2013-10-29 | 16 | Murphy | TX #1 | 67 310 | A | In Service
NC13055 | Solar | 2013-10-29 | 5 | Parmele | TX #1 | 62 740 | A | In Service
NC13056 | Solar | 2013-10-29 | 20 | Murphy | TX #2 | 67 312 | A | In Service
NC13057 | Solar | 2013-11-15 | 5 | Ahoskie | TX #2 | 67 348 | A | In Service
NC13058 | Solar | 2013-11-15 | 20 | Adylett | TX #2 | 71 482 | A | In Service
NC13059 | Solar | 2013-11-15 | 5 | Woodland | TX #1 | 67 304 | C | Cancelled
NC13060 | Solar | 2013-11-15 | 3.4 | Whitakers | TX #1 | 61 330 | A | In Service
NC13060A | Solar | 2013-11-15 | 5 | Carolina | TX #2 | 61 815 | A | In Service
NC13061 | Solar | 2013-11-15 | 12 | Carolina | TX #2 | 61 810 | C | Cancelled
NC13062 | Solar | 2013-11-18 | 5 | Seaboard | TX #1 | 61 818 | A | In Service
NC13063 | Solar | 2013-11-18 | 5 | Everetts | TX #3 | 62 325 | C | Cancelled
NC13064 | Solar | 2013-11-18 | 5 | Chowan | TX #1 | 71 445 | A | In Service
NC13065 | Solar | 2013-11-18 | 5 | Earleys | TX #1 | 67 302 | C | Cancelled
NC13066 | Solar | 2013-11-18 | 5 | Chowan | TX #1 | 71 445 | C | Cancelled
NC13067 | Solar | 2013-11-25 | 5 | Kelford | TX #1 | 67 380 | A | In Service
NC13068 | Solar | 2013-12-02 | 5 | Murphy | TX #2 | 67 309 | A | In Service
NC13069 | Solar | 2013-12-02 | 5 | Tunis | TX #1 | 67 327 | A | In Service
NC13070 | Solar | 2013-12-02 | 5 | Carolina | TX #2 | 61 810 | A | In Service
NC13071 | Solar | 2013-12-11 | 5 | Tunis | TX #1 | 67 328 | A | In Service
NC13072 | Solar | 2013-12-13 | 5 | Poplar Chapel | TX #1 | 62 334 | C | Cancelled
NC13073 | Solar | 2013-12-18 | 5 | Northampton | TX #1 | 61 381 | A | In Service
NC13074 | Solar | 2013-12-18 | 5 | Earleys | TX #2 | 67 303 | A | In Service
NC13075 | Wind | 2013-12-18 | 0.066 | Kitty Hawk | TX #8 | 68 407 | A | In Service
NC13076 | Solar | 2013-12-18 | 5 | Whitakers | TX #1 | 61 330 | C | Cancelled
NC13077 | Solar | 2013-12-18 | 5 | Earleys | TX #1 | 67 302 | C | Cancelled
NC14001 | Solar | 2014-01-03 | 5 | Hornertown | TX #1 | 61 828 | C | Cancelled
NC14002 | Solar | 2014-01-03 | 5 | Hornertown | TX #5 | 61 320 | C | Cancelled
NC14003 | Solar | 2014-01-03 | 5 | Bethel-Carolina | TX #1 | 62 755 | C | Cancelled
NC14004 | Solar | 2014-01-06 | 5 | Hornertown | TX #5 | 61 320 | A | In Service
NC14005 | Solar | 2014-01-10 | 5 | Creswell | TX #1 | 62 370 | C | Cancelled
NC14006 | Solar | 2014-01-10 | 2 | Everetts | TX #3 | 62 310 | C | Cancelled
NC14008 | Solar | 2014-01-14 | 3 | Bethel-Carolina | TX #1 | 62 755 | C | Cancelled
NC14009 | Solar | 2014-01-31 | 3 | Seaboard | TX #1 | 61 818 | C | Cancelled
NC14010 | Solar | 2014-01-31 | 5 | Northampton | TX #2 | 61 381 | A | In Service
NC14011 | Solar | 2014-02-11 | 5 | Chowan | TX #1 | 71 445 | C | Cancelled
NC14012 | Solar | 2014-02-12 | 5 | Ahoskie | TX #1 | 67 329 | A | In Service
NC14014 | Solar | 2014-03-10 | 5 | Whitakers | TX #1 | 61 330 | C | Cancelled
NC14018 | Solar | 2014-04-03 | 5 | Everetts | TX #1 | 62 330 | A | In Service
NC14019 | Solar | 2014-04-04 | 5 | Everetts | TX #1 | 62 320 | A | In Service
NC14020 | Solar | 2014-04-08 | 4.5 | Carolina | TX #2 | 61 810 | C | Cancelled
NC14023 | Solar | 2014-04-23 | 5 | Cashie | TX #1 & TX #2 | 67 - To Windsor DP (Cashie TX#2) | A | In Service
NC14024 | Solar | 2014-04-24 | 5 | Sunbury | TX #1 | 71 425 | C | Cancelled
NC14025 | Solar | 2014-04-28 | 5 | Winfall | TX #5 | 71 430 | A | In Service
NC14026 | Solar | 2014-04-28 | 5 | Northampton | TX #1 | 61 381 | A | In Service
NC14027 | Solar | 2014-04-28 | 3 | Northampton | TX #2 | 61 381 | A | In Service
NC14028 | Solar | 2014-04-30 | 5 | Winfall | TX #5 | 71 430 | A | In Service
NC14029 | Solar | 2014-04-30 | 5 | Winfall | TX #5 | 71 430 | C | Cancelled
NC14030 | Solar | 2014-05-01 | 5 | Winfall | TX #5 | 71 430 | A | In Service
NC14031 | Solar | 2014-05-01 | 5 | Winfall | TX #5 | 71 430 | C | Cancelled
NC14032 | Solar | 2014-05-13 | 5 | Battleboro | TX #1 | 61 315 | A | In Service
NC14033 | Solar | 2014-05-21 | 5 | Seaboard | TX #1 | 61 818 | C | Cancelled
NC14034 | Solar | 2014-09-08 | 5 | Northampton | TX #1 | 61 381 | C | Cancelled
NC14035 | Solar | 2014-05-22 | 5 | Carolina | TX #2 | 61 810 | C | Cancelled
NC14039 | Solar | 2014-06-03 | 5 | Seaboard | TX #1 | 61 817 | C | Cancelled
NC14042 | Solar | 2014-06-10 | 2 | Seaboard | TX #1 | 61 818 | C | Cancelled
NC14043 | Solar | 2014-06-12 | 5 | Woodland | TX #1 | 67 307 | A | In Service
NC14044 | Solar | 2014-06-16 | 5 | Poplar Chapel | TX #1 | 62 334 | C | Cancelled
NC14046 | Solar | 2014-07-02 | 5 | Poplar Chapel | TX #1 | 62 334 | A | In Service
NC14047 | Solar | 2014-07-02 | 5 | Okisko | TX #1 | 71 555 | C | Cancelled
NC14048 | Solar | 2014-07-02 | 5 | Hornertown | TX #1 | 61 828 | C | Cancelled
NC14049 | Solar | 2014-07-02 | 3.1 | Pasquotank | TX #1 | 71 434 | A | In Service
NC14050 | Solar | 2014-07-03 | 10 | Creswell | TX #1 | 62 370 | C | Cancelled
NC14051 | Solar | 2014-07-03 | 5 | Cashie | TX #1 & TX #2 | 67 - To Windsor DP (Cashie TX#2) | C | Cancelled
NC14052 | Solar | 2014-07-07 | 5 | Murphy | TX #2 | 67 309 | C | Cancelled
NC14053 | Solar | 2014-07-14 | 20 | Lake Gaston | TX #1 | 61 331 | C | Cancelled
NC14054 | Solar | 2014-07-17 | 5 | Tunis | TX #1 | 67 327 | C | Cancelled
NC14055 | Solar | 2014-07-21 | 2 | Northampton | TX #1 | 61 381 | C | Cancelled
NC14056 | Solar | 2014-07-21 | 2 | Northampton | TX #1 | 61 381 | C | Cancelled
NC14057 | Solar | 2014-07-21 | 5 | Tunis | TX #1 | 67 327 | C | Cancelled
NC14058 | Solar | 2014-07-21 | 5 | Woodland | TX #1 | 67 304 | C | Cancelled
NC14059 | Solar | 2014-07-23 | 5 | Earleys | TX #2 | 67 303 | C | Cancelled
NC14060 | Solar | 2014-07-23 | 3 | Scotland Neck | TX #2 | 61 730 | A | Project A
NC14061 | Solar | 2014-07-24 | 5 | Sligo | TX #1 | 71 470 | A | In Service
NC14062 | Solar | 2014-07-25 | 0.9 | Elizabeth City | TX #2 | 71 412 | C | Cancelled
NC14063 | Solar | 2014-07-29 | 5 | Sligo | TX #1 | 71 470 | A | In Service
NC14065 | Solar | 2014-07-31 | 5 | Poplar Chapel | TX #1 | 62 334 | A | In Service
NC14066 | Solar | 2014-08-05 | 5 | Winfall | TX #5 | 71 430 | C | Cancelled
NC14067 | Solar | 2014-08-05 | 5 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC14068 | Solar | 2014-08-05 | 5 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC14069 | Solar | 2014-08-05 | 5 | Earleys | TX #1 | 67 302 | C | Cancelled
NC14070 | Solar | 2014-08-05 | 5 | Tunis | TX #1 | 67 327 | C | Cancelled
NC14071 | Solar | 2014-08-13 | 5 | Pasquotank | TX #1 | 71 434 | C | Cancelled
NC14073 | Solar | 2014-09-04 | 5 | Pasquotank | TX #1 | 71 434 | C | Cancelled
NC14074 | Solar | 2014-09-09 | 2 | Seaboard | TX #1 | 61 818 | C | Cancelled
NC14075 | Solar | 2014-09-15 | 2 | Hornertown | TX #5 | 61 320 | C | Cancelled
NC14077 | Solar | 2014-09-22 | 5 | Everetts | TX #3 | 62 310 | C | Cancelled
NC14078 | Solar | 2014-09-24 | 5 | Cashie | TX #1 | 62 360 | A | In Service
NC14080 | Solar | 2014-09-25 | 5 | Tar River | TX #1 | 62 715 | C | Cancelled
NC14083 | Solar | 2014-10-02 | 5 | Sligo | TX #1 | 71 467 | C | Cancelled
NC14084 | Solar | 2014-10-02 | 5 | Sligo | TX #1 | 71 470 | C | Cancelled
NC14085 | Solar | 2014-10-03 | 5 | Elizabeth City | TX #2 | 71 410 | A | In Service
NC14088 | Solar | 2014-10-31 | 5 | Hornertown | TX #5 | 61 320 | C | Cancelled
NC14089 | Solar | 2015-04-17 | 2 | Hornertown | TX #3 | 61 319 | A | In Service
NC14090 | Solar | 2014-11-04 | 0.132 | Plymouth | TX #2 | 62 340 | C | Cancelled
NC14091 | Solar | 2014-11-18 | 19.99 | Hornertown | TX #5 | 61 320 | C | Cancelled
NC14095 | Solar | 2014-12-04 | 20 | Seaboard | TX #1 | 61 818 | C | Cancelled
NC15006 | Solar | 2015-02-13 | 12 | Chowan | TX #1 | 71 445 | C | Cancelled
NC15007 | Solar | 2015-02-13 | 20 | Winfall | TX #5 | 71 430 | C | Cancelled
NC15008 | Solar | 2015-02-13 | 16 | Winfall | TX #4 | 71 420 | C | Cancelled
NC15016 | Solar | 2015-03-27 | 5 | Everetts | TX #3 | 62 320 | C | Cancelled
NC15021 | Solar | 2015-04-23 | 5 | Hornertown | TX #5 | 61 320 | C | Cancelled
NC15110 | Solar | 2015-10-26 | 5 | Plymouth | TX #2 | 62 340 | C | Cancelled
NC15112 | Solar | 2016-04-21 | 2 | Kelford | TX #1 | 67 380 | C | Cancelled
NC15129 | Solar | 2015-12-16 | 16.2 | Winfall | TX #4 | 71 420 | C | Cancelled
NC16009 | Solar | 2016-02-23 | 5 | Chowan | TX #1 | 71 445 | A | In Service
NC16018 | Solar | 2016-03-24 | 3.332 | Plymouth | TX #2 | 62 340 | C | Cancelled
NC16019 | Solar | 2016-03-24 | 4.989 | Hickory | TX #1 | 71 325 | C | Cancelled
NC16025 | Solar | 2016-04-04 | 21 | Sligo | TX #1 | 71 470 | C | Cancelled
NC16028 | Solar | 2016-04-13 | 5 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC16035 | Solar | 2016-05-18 | 20 | Elizabeth City | TX #2 | 71 410 | A | In Service
NC16036 | Solar | 2016-05-19 | 5 | South Hertford | TX #1 | 71 460 | A | In Service
NC16037 | Solar | 2016-05-19 | 4.5 | Poplar Chapel | TX #1 | 62 334 | C | Cancelled
NC16038 | Solar | 2016-05-19 | 4.5 | Chowan | TX #1 | 71 445 | C | Cancelled
NC16046 | Solar | 2016-06-21 | 5 | Chowan | TX #1 | 71 445 | A | In Service
NC16047 | Solar | 2016-06-27 | 5 | South Hertford | TX #1 | 71 460 | A | In Service
NC16048 | Solar | 2016-06-27 | 1.9 | Murphy | TX #2 | 71 309 | C | Cancelled
NC16053 | Solar | 2016-07-05 | 4 | Carolina | TX #2 | 61 815 | C | Cancelled
NC16054 | Solar | 2016-07-05 | 4.5 | Tunis | TX #1 | 67 326 | C | Cancelled
NC16055 | Solar | 2016-07-05 | 4.5 | Seaboard | TX #1 | 62 818 | C | Cancelled
NC16056 | Solar | 2016-07-05 | 4 | Carolina | TX #2 | 61 815 | C | Cancelled
NC16060 | Solar | 2016-07-13 | 20 | Hornertown | TX #3 | 61 322 | A | In Service
NC16061 | Solar | 2016-07-13 | 16 | Hornertown | TX #3 | 61 322 | A | In Service
NC16063 | Solar | 2016-07-27 | 4.998 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC16064 | Solar | 2016-07-28 | 4 | Battleboro | TX #1 | 61 315 | A | In Service
NC16069 | Solar | 2016-08-15 | 5 | Murphy | TX #1 | 67 310 | A | In Service
NC16070 | Solar | 2016-08-15 | 4 | Murphy | TX #1 | 67 310 | A | In Service
NC16073 | Solar | 2016-08-17 | 5 | South Hertford | TX #1 | 71 460 | C | Cancelled
NC16074 | Solar | 2016-08-17 | 5 | South Hertford | TX #1 | 71 460 | C | Cancelled
NC16080 | Solar | 2016-09-16 | 15 | Adylett | TX #2 | 71 482 | C | Cancelled
NC16088 | Solar | 2016-10-17 | 0 | Everetts | TX #3 | 62 325 | A | In Service
NC16089 | Solar | 2016-10-26 | 20 | Sockman | TX #1 NEW | 61 344 | A | In Service
NC16090 | Solar | 2016-10-28 | 5 | Tar River | TX #1 | 62 715 | C | Cancelled
NC16102 | Solar | 2016-11-02 | 4 | Tunis | TX #1 | 67 326 | C | Cancelled
NC16107 | Solar | 2016-11-02 | 5 | Hornertown | TX #5 | 61 320 | A | In Service
NC16108 | Solar | 2016-11-02 | 5 | Hornertown | TX #5 | 61 319 | C | Cancelled
NC16109 | Solar | 2016-11-09 | 0 | Cashie | TX #1 & TX #2 | 67 - To Windsor DP (Cashie TX#2) | A | In Service
NC16115 | Solar | 2016-11-21 | 5 | South Hertford | TX #1 | 71 460 | C | Cancelled
NC17006 | Solar | 2017-02-10 | 5 | Earleys | TX #1 | 67 302 | C | Cancelled
NC17035 | Solar | 2017-05-02 | 16.2 | Winfall | TX #4 | 71 423 | A | In Service
NC17040 | Diesel | 2017-05-01 | 0 | Pasquotank | TX #1 | 71 472 | A | In Service
NC17048 | Solar | 2017-07-06 | 0 | Tunis | TX #1 | 67 327 | A | In Service
NC17050 | Solar | 2017-07-27 | 1 | Tunis | TX #1 | 67 326 | C | Cancelled
NC17051 | Solar | 2017-07-27 | 1 | Kelford | TX #1 | 67 380 | C | Cancelled
NC17052 | Solar | 2017-07-27 | 1 | Kelford | TX #1 | 67 380 | C | Cancelled
NC17053 | Solar | 2017-07-27 | 1 | Kelford | TX #1 | 67 380 | C | Cancelled
NC17054 | Solar | 2017-07-27 | 1 | Tarboro | TX #1 | 62 710 | C | Cancelled
NC17055 | Solar | 2017-07-27 | 1 | Tar River | TX #1 | 62 715 | C | Cancelled
NC17056 | Solar | 2017-07-27 | 1 | Bethel-Carolina | TX #1 | 62 755 | C | Cancelled
NC17057 | Solar | 2017-07-27 | 1 | Bethel-Carolina | TX #1 | 62 755 | C | Cancelled
NC17059 | Solar | 2017-08-08 | 1 | Tunis | TX #1 | 67 326 | C | Cancelled
NC17060 | Solar | 2017-08-08 | 1 | Bethel-Carolina | TX #1 | 62 755 | C | Cancelled
NC17061 | Solar | 2017-08-08 | 1 | Tunis | TX #1 | 67 326 | C | Cancelled
NC17069 | Solar | 2017-08-22 | 1 | Tar River | TX #1 | 62 390 | C | Cancelled
NC17070 | Solar | 2017-08-22 | 1 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC17079 | Solar | 2017-09-19 | 0 | Kelford | TX #1 | 67 380 | A | In Service
NC17089 | Solar | 2017-10-16 | 0 | Everetts | TX #1 | 62 320 | A | In Service
NC17115 | Solar | 2017-12-15 | 0 | Northampton | TX #2 | 61 381 | A | In Service
NC17116 | Solar | 2017-12-26 | 1 | Kelford | TX #2 | 67 379 | C | Cancelled
NC18016 | Solar | 2018-03-01 | 2 | Earleys | TX #1 | 67 302 | C | Cancelled
NC18017 | Solar | 2018-03-01 | 2 | Earleys | TX #1 | 67 302 | C | Cancelled
NC18019 | Solar | 2018-03-06 | 10 | Earleys | TX #1 | 67 302 | A | In Service
NC18022 | Solar | 2018-02-20 | 5 | Edenton | TX #2 | 71 601 | A | In Service
NC18023 | Solar | 2018-03-26 | 19.95 | Earleys | TX #1 | 67 302 | C | Cancelled
NC18026 | Solar | 2018-04-02 | 1 | Earleys | TX #1 | 67 302 | C | Cancelled
NC18027 | Diesel | 2018-04-02 | 0.5 | Colington | TX #1 | 68 427 | A | In Service
NC18041 | Solar | 2018-05-25 | 1 | Whitakers | TX #2 | 61 336 | C | Cancelled
NC18042 | Solar | 2018-05-25 | 1 | Kelford | TX #1 | 67 380 | C | Cancelled
NC18073 | Solar | 2018-08-27 | 0 | Elizabeth City | TX #2 | 71 412 | A | In Service
NC18078 | Solar | 2018-08-28 | 3.5 | South Hertford | TX #1 | 71 460 | C | Cancelled
NC18113 | Solar | 2018-11-06 | 5 | South Hertford | TX #1 | 71 460 | C | Cancelled
NC18117 | Solar | 2018-11-16 | 2.5 | South Hertford | TX #1 | 71 460 | C | Cancelled
NC19034 | Solar | 2019-03-19 | 5 | South Hertford | TX #1 | 71 460 | C | Cancelled
NC19040 | Solar | 2019-04-01 | 5 | South Hertford | TX #1 | 71 460 | C | Cancelled
NC19098 | Solar | 2019-08-22 | 0 | Tunis | TX #1 | 67 327 | A | In Service
NC20016 | Solar | 2020-01-29 | 3.3 | Consolidated Diesel | TX #2 | 61 XXX | A | In Service
NC20102 | Solar | 2020-05-14 | 5 | Earleys | TX #1 | 67 302 | C | Cancelled
NC20103 | Solar | 2020-06-04 | 15 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC20104 | Solar | 2020-05-21 | 10 | Tunis | TX #1 | 67 327 | C | Cancelled
NC20107 | Solar | 2020-05-21 | 13.5 | Tunis | TX #1 | 67 327 | C | Cancelled
NC20162 | Solar | 2020-07-06 | 0 | Everetts | TX #1 | 62 320 | A | In Construction
NC20164 | Other | 2020-07-06 | 1.2 | Battleboro | TX #3 | 61 316 | C | Cancelled
NC20200 | Solar | 2020-08-04 | 5 | Earleys | TX #1 | 67 302 | C | Cancelled
NC20213 | Solar | 2020-08-10 | 17.5 | Earleys | TX #2 | 67 305 | C | Cancelled
NC20214 | Solar | 2020-08-10 | 12.5 | Earleys | TX #1 | 67 302 | C | Cancelled
NC20247 | Solar | 2020-09-10 | 20 | Ahoskie | TX #1 | 67 329 | A | In Construction
NC20248 | Solar | 2020-09-10 | 20 | Ahoskie | TX #1 | 67 NEW | A | In Construction
NC20347 | Solar | 2020-10-08 | 0 | Hornertown | TX #5 | 61 320 | A | In Construction
NC20474 | Solar | 2020-10-30 | 2 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC20475 | Solar | 2020-10-30 | 2 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC20476 | Solar | 2020-10-30 | 2 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC20477 | Solar | 2020-10-30 | 2 | Ahoskie | TX #1 | 67 329 | C | Cancelled
NC21032 | Solar | 2021-01-08 | 0 | Hornertown | TX #3 | 61 322 | A | Project A
NC21033 | Solar | 2021-01-08 | 0 | Northampton | TX #1 | 61 381 | A | Project A
NC21034 | Solar | 2021-01-08 | 0 | Hornertown | TX #5 | 61 320 | A | Project A
NC21035 | Solar | 2021-01-08 | 0 | Hornertown | TX #3 | 61 322 | A | Project A
NC21488 | Solar | 2021-08-11 | 0 | Murphy | TX #1 | 67 310 | C | Cancelled
NC21560 | Solar | 2021-09-28 | 0 | Elizabeth City | TX #2 | 71 412 | A | Project A
NC22054 | Solar | 2022-03-03 | 0 | Kelford | TX #2 | 67 379 | A | In Service
NC22058 | Solar | 2022-03-10 | 15.5 | Lake Gaston | TX #1 | 61 331 | C | Cancelled
NC23478 | Solar | 2023-11-14 | 5 | Ahoskie | TX #1 | 67 329 | A | Project A
NC24025 | Battery | 2024-01-17 | 0.74 | Woodland | TX #1 | 67 304 | A | In Construction
NC24026 | Battery | 2024-01-17 | 0.74 | Murphy | TX #2 | 67 309 | A | In Construction
NC24257 | Solar | 2024-07-18 | 1.25 | Carolina | TX #2 | 61 810 | C | Cancelled

## Net Metering > 20 kW
Dominion Energy North Carolina Queue Status Report (Net Metering > 20 kW)
Data as of: | 2025-01-30
Queue No | Fuel Type | Date Queue No Assigned | Capacity (MW) | Substation and Transformer | Circuit | Status | Status Description
NC11002 | Wind | 2011-02-11 | 0.0342 | Nags Head TX#3 | 68 455 (Nags Head) | NM | Complete
NC15010 | Solar | 2015-01-21 | 0.36 | Pasquotank TX#1 | 71 472 (Pasquotank) | NM | Complete
NC15030 | Solar | 2015-05-06 | 0.384 | Everetts TX#1 | 62 330 (Everetts) | NM | Cancelled
NC15116 | Solar | 2015-11-04 | 0.066 | Plymouth TX#2 | 62 340 (Plymouth) | NM | Complete
NC15126 | Solar | 2015-11-24 | 0.0208 | Tarboro TX#2 | 62 710 (Tarboro) | NM | Complete
NC22150 | Solar | 2022-07-06 | 0.0202 | Hornertown TX#5 | 61 321 (Hornertown) | NM | Complete
NC23312 | Solar | 2023-06-25 | 0.1 | Colington | 68 422 (Colington) | NM | Incomplete
NC23313 | Solar | 2023-07-25 | 0.04 | Colington | 68 422 (Colington) | NM | Incomplete
NC23407 | Solar | 2023-07-25 | 0.03 | Colington | 68 422 (Colington) | NM | Incomplete
NC24356 | Solar | 2024-09-09 | 0.07 | Whitakers | 61 330 (Whitakers) | NM | In Progress

## FERC Jurisdiction
Renewable Energy FERC-jurisdictional Interconnections placed in Operation since 2011
Data as of: | 2025-01-30
Data Source: | PJM New Services Queue (https://www.pjm.com/planning/service-requests/serial-service-request-status)
Queue Number | Owner | Docket Number | AC Capacity (MW) | Fuel Type | Delivery Date | County | Status | Latitude | Longitude
V4-068 | Solar Star North Carolina II, LLC |  | 5 | Solar | 2011-12-15 | Hertford | In Service | 36.424 | -77.0627
Z2-027 | Colonial Eagle Solar, LLC |  | 20 | Solar | 2014-12-29 | Pasquotank | In Service | 36.27 | -76.31
Z2-043/AA1-072 | Colonial Eagle Solar, LLC |  | 23.1 | Solar | 2015-12-14 | Bertie | In Service | 36.15 | -77.21
Z2-044 | Colonial Eagle Solar, LLC |  | 12 | Solar | 2015-12-14 | Nash | In Service | 36.13 | -77.73
Z2-088/AA1-050 | Conetoe II Solar, LLC |  | 80 | Solar | 2015-12-21 | Edgecombe | In Service | 35.8084 | -77.4908
Y1-086 | Virginia Electric and Power Company |  | 20 | Solar | 2015-12-26 | Pasquotank | In Service | 36.421 | -76.364
AA1-067 | Williamston Speight Solar, LLC |  | 15 | Solar | 2016-11-21 | Martin | In Service | 35.894 | -77.1645
W1-029 | Desert Wind Farm, LLC |  | 208 | Wind | 2017-03-02 | Perquimans | In Service | 36.3286 | -76.4073
AA1-139 | Summit Farms Solar, LLC (60 MW) and Wildwood Lessee, LLC (60 MW) |  | 120 | Solar | 2018-03-06 | Currituck | In Service | 36.482 | -76.132
AA1-063A | Virginia Electric and Power Company |  | 74.9 | Solar | 2018-10-17 | Northampton | In Service | 36.4855 | -77.4881
AA1-065/AE1-035 | Holloman Lessee, LLC |  | 99.9 | Solar | 2019-01-09 | Hertford | In Service | 36.2479 | -77.0743
AB2-169 | Wilkinson Solar LLC |  | 74 | Solar | 2019-11-20 | Beaufort | In Service | 35.6 | -76.79
AA2-057/AA2-165 | Virginia Electric and Power Company |  | 74.9 | Solar | 2019-11-26 | Halifax | In Service | 36.18 | -77.7
AB2-059 | Fern Solar LLC |  | 100 | Solar | 2020-10-12 | Edgecombe | In Service | 36.06 | -77.71
AB1-081 | Harts Mill Solar, LLC |  | 80 | Solar | 2020-12-21 | Edgecombe | In Service | 35.89 | -77.65
AC1-054 | Hawtree Creek Farm Solar, LLC |  | 65 | Solar | 2021-10-01 | Warren | In Service | 36.54 | -78.11
AB2-022 | Camden Solar, LLC |  | 20 | Solar | 2021-10-18 | Camden | In Service | 36.19 | -76.08
AD2-160/AE2-253 | Oak Trail Solar, LLC |  | 100 | Solar | 2023-07-05 | Currituck | In Service | 36.53 | -76.17
AB2-099/AE2-346 | Colice Hall Solar, LLC |  | 17 | Solar | 2023-07-06 | Hertford | In Service | 36.31 | -76.99
Z1-036 | Timbermill Wind, LLC |  | 189 | Wind | 2024-12-13 | Perquimans | In Service
AA2-178/AE2-034 | Albemarle Beach Solar, LLC |  | 120 | Solar | 2023-10-01 | Washington | Partially In Service - Under Construction | 35.93 | -76.62
AB1-132 | Oak Lessee, LLC |  | 120 | Solar | 2023-12-25 | Northampton | In Service | 36.54 | -77.766
AA2-053/AA2-174 | Virginia Electric and Power Company |  | 79.9 | Solar | 2024-08-22 | Northampton | In Service | 36.46 | -77.54