## STATE Queue
2024-11-26
Dominion Energy South Carolina - SCGIP Interconnection Queue
Queue Number | Request # | Capacity (MW) | DESC Transmission Line or Substation | Circuit | Type Generation/ Fuel Type | Fast Track Status | Operational Status
41 | 20131028001 | 0.3 | Lexington Transmission | 19832 | Hydro | NA | Withdrawn
42 | 20140409001 | 1.36 | Dixiana | 15342 | Solar | NA | Withdrawn
43 | 2014040902 | 0.75 | Faber Place | 90402 | Solar | Complete | Withdrawn
44 | 20140619001 | 75.1 | Orangeburg East - St. George 115 kV #1 | NA | Solar | NA | Withdrawn
45 | 20140702001 | 10.2 | Fairfax | 40232 | Solar | NA | Complete
46 | 20140820001 | 6.8 | Hampton | 40132 | Solar | NA | Withdrawn
47 | 20140909001 | 6.7 | Bowman | 38602 | Solar | NA | Withdrawn
48 | 20141001001 | 20 | Hampton – Estill 46 kV | NA | Solar | NA | Withdrawn
49 | 20141007001 | 0.3 | Lexington Transmission | 19832 | Hydro | NA | Withdrawn
50 | 20141027001 | 20.4 | Fairfax – Estill 46 kV | NA | Solar | NA | Complete
51 | 20141027002 | 10.2 | Estill Southside | 40072 | Solar | NA | Complete
52 | 20141031001 | 10 | Columbia Industrial Park | 78502 | Solar | NA | Withdrawn
53 | 20141031002 | 10 | Herrin | 42042 | Solar | NA | Withdrawn
54 | 20141118001 | 10.2 | Gaston | 50072 | Solar | NA | Complete
55 | 20141118002 | 10.2 | Gaston | 50072 | Solar | NA | Withdrawn
56 | 20141212001 | 20 | Fairfax – Herrin 46 kV | NA | Solar | NA | Withdrawn
57 | 2014121601 | 10.2 | St. Matthews 23 kV | 20022 | Solar | NA | Withdrawn
58 | 20150108001 | 20 | Urquhart - Salem Switching Station 115 kV | NA | Solar | NA | Withdrawn
59 | 20150216001 | 3 | Columbia Industrial Park | 78502 | Solar | NA | Withdrawn
60 | 20150216002 | 70.014 | Fairfax – Salem Switching Station 115 kV | NA | Solar | NA | Complete
61 | 20150218001 | 6.8 | Hampton | 40132 | Solar | NA | Complete
62 | 20150218002 | 20 | Hampton – Estill 46 kV | NA | Solar | NA | Complete
63 | 20150224001 | 20 | Canadys - SRS 230 kV | NA | Solar | NA | Withdrawn
64 | 20150224002 | 71.4 | Yemassee – McIntosh 115 kV Tie | NA | Solar | NA | Complete
65 | 20150304001 | 20 | Cameron Junction – St. Matthews 46 kV | NA | Solar | NA | Complete
66 | 20150304002 | 10.2 | Urquhart – Jackson 46 kV | NA | Solar | NA | Withdrawn
67 | 20150304003 | 10.2 | St. Matthews 23 kV | 20022 | Solar | NA | Complete
68 | 20150317001 | 20 | Blackville – Barnwell Loop 46 kV | NA | Solar | NA | Withdrawn
69 | 20150423001 | 81.4 | Eastover – Orangeburg East 115 kV | NA | Solar | NA | Withdrawn
70 | 20150501001 | 0.24 | Harbison | 77222 | Solar | Complete | Complete
71 | 20150506001 | 5 | Wagener | 73412 | Solar | NA | Withdrawn
72 | 20150529001 | 6.8 | Saluda County | 19020 | Solar | NA | Complete
73 | 20150529002 | 6.12 | Springfield City | 11592 | Solar | NA | Complete
74 | 20150602001 | 12.24 | Fairfax – Estill 46kV | NA | Solar | NA | Withdrawn
75 | 20150603001 | 20 | Blackville – Barnwell Loop 46 kV | NA | Solar | NA | Withdrawn
76 | 20150608001 | 5 | Varnville | 40022 | Solar | NA | Withdrawn
77 | 20150608002 | 20 | Blackville – Blackville Central 46 kV | NA | Solar | NA | Complete
78 | 20150608003 | 5 | Denmark | 3102 | Solar | NA | Withdrawn
79 | 20150608004 | 10.8 | Williston | 50172 | Solar | NA | Withdrawn
80 | 20150610001 | 6 | Barnwell City | 2432 | Solar | NA | Withdrawn
81 | 20150612001 | 4.76 | St. Matthews | 20002 | Solar | NA | Withdrawn
82 | 20150615001 | 6.8 | Blackville 46 kV | NA | Solar | NA | Withdrawn
83 | 20150615002 | 4.08 | Cameron | 44812 | Solar | NA | Complete
84 | 20150623001 | 39 | Blackville – Wagener 46kV | NA | Solar | NA | Complete
85 | 20150623002 | 10 | Ridgeland 23 kV | 60162 | Solar | NA | Complete
86 | 20150629001 | 5.44 | Barnwell East Side | 50702 | Solar | NA | Complete
87 | 20150629002 | 10.88 | Pelion | 14782 | Solar | NA | Withdrawn
88 | 20150629003 | 10.88 | Pelion | 14772 | Solar | NA | Withdrawn
89 | 20150706001 | 6.12 | Denmark Industrial Park | 50302 | Solar | NA | Withdrawn
90 | 20150706002 | 6.12 | Barnwell City | 2432 | Solar | NA | Withdrawn
91 | 20150708001 | 0.34 | Summerville Plaza | 70502 | Solar | Complete | Complete
92 | 20150708002 | 0.25 | Hanahan SW Station | 90052 | Solar | Complete | Complete
93 | 20150708003 | 0.36 | Kendrick | 18422 | Solar | Complete | Complete
94 | 20150708004 | 0.28 | Stono Park | 92272 | Solar | Complete | Complete
95 | 20150710001 | 6 | Barnwell City | 2432 | Solar | NA | Withdrawn
96 | 20150710002 | 5 | Varnville | 40022 | Solar | NA | Withdrawn
97 | 20150713001 | 8.16 | Allendale | 40092 | Solar | NA | Complete
98 | 20150713002 | 3.4 | Saluda County | 19132 | Solar | NA | Complete
99 | 20150715001 | 0.34 | Aiken Southside | 35032 | Solar | Complete | Complete
100 | 20150715002 | 0.39 | Lexington East Side | 42812 | Solar | Complete | Complete
101 | 20150730001 | 8.16 | Pelion | 14782 | Solar | NA | Complete
102 | 20150730002 | 3.4 | North | 50032 | Solar | NA | Withdrawn
103 | 20150804001 | 0.31 | Sandhills | 76412 | Solar | Complete | Complete
104 | 20150811001 | 0.504 | Faber Place | 90602 | Solar | Complete | Complete
105 | 20150812001 | 6.7 | Eutawville | 75712 | Solar | NA | Withdrawn
106 | 20150812002 | 5 | Barnwell East Side | 50702 | Solar | NA | Withdrawn
107 | 20150812003 | 5 | Barnwell Industrial Park | 50432 | Solar | NA | Withdrawn
108 | 20150818001 | 66.64 | Barnwell – SRS 115 kV | NA | Solar | NA | Withdrawn
109 | 20150826001 | 0.79 | Wando | 95112 | Solar | Complete | Withdrawn
110 | 20150831001 | 2.04 | Bowman | 38702 | Solar | NA | Withdrawn
111 | 20150909001 | 0.98 | Ward | 20602 | Solar | Complete | Withdrawn
112 | 20150914001 | 10 | Saluda County | 19090 | Solar | NA | Withdrawn
113 | 20150918001 | 3.33 | Williston | 50162 | Solar | NA | Withdrawn
114 | 20150921005 | 2.04 | Belmont | 75212 | Solar | NA | Withdrawn
115 | 20150928001 | 10 | Kronotex | 50912 | Solar | NA | Withdrawn
116 | 20150929001 | 5 | Varnville | 40022 | Solar | NA | Withdrawn
117 | 20150930001 | 4.08 | Williston | 50172 | Solar | NA | Withdrawn
118 | 20151001001 | 10 | Allendale | 40052 | Solar | NA | Withdrawn
119 | 20151007001 | 1 | Cainhoy | 95212 | Solar | Complete | Withdrawn
120 | 20151013001 | 2.72 | Hampton | 42012 | Solar | NA | Withdrawn
121 | 20151013002 | 5.44 | Johnston | 48211 | Solar | NA | Withdrawn
122 | 20151013003 | 8.16 | Ridgeland | 60162 | Solar | NA | Complete
123 | 20151013004 | 75.6 | Barnwell – Denmark 115 kV | NA | Solar | NA | Withdrawn
124 | 20151014001 | 2.04 | Belmont | 75212 | Solar | NA | Withdrawn
125 | 20151016001 | 10 | Silver Bluff | 30302 | Solar | NA | Withdrawn
126 | 20151016002 | 10 | Wagener | 73412 | Solar | NA | Withdrawn
127 | 20151026001 | 11 | Sage Mill Industrial Park | 13072 | Solar | NA | Withdrawn
128 | 20151026002 | 11 | Saluda County | 19132 | Solar | NA | Withdrawn
129 | 20151026003 | 11 | Aiken Industrial Park | 35182 | Solar | NA | Withdrawn
131 | 20151028002 | 10 | Holly Hill | 20042 | Solar | NA | Withdrawn
132 | 20151030001 | 20 | Blackville – Wagener 46 kV | NA | Solar | NA | Withdrawn
133 | 20151105001 | 10 | Denmark Industrial Park | 50302 | Solar | NA | Withdrawn
134 | 20151105002 | 10 | Allendale | 40052 | Solar | NA | Withdrawn
135 | 20151106001 | 10 | Columbia Industrial Park | 78502 | Solar | NA | Withdrawn
136 | 20151106002 | 10 | Ward | 20602 | Solar | NA | Withdrawn
137 | 20151106003 | 10 | Herrin | 42042 | Solar | NA | Withdrawn
138 | 20151106004 | 10 | Orangeburg #1– Cameron Junction 46kV | NA | Solar | NA | Withdrawn
139 | 20151109001 | 10 | Fairfax – Herrin 46 kV | NA | Solar | NA | Withdrawn
140 | 20151110001 | 1.98 | Dixiana | 15242 | Solar | NA | Withdrawn
141 | 20151110002 | 1.98 | Barnwell | 50042 | Solar | NA | Withdrawn
142 | 20151110003 | 1.98 | Kingswood | 83012 | Solar | NA | Withdrawn
143 | 20151110004 | 1.98 | Columbia Industrial Park | 78502 | Solar | NA | Withdrawn
144 | 20151110005 | 1.98 | Columbia Industrial Park | 78502 | Solar | NA | Withdrawn
145 | 20151110006 | 8.33 | Yemassee Central | 80222 | Solar | NA | Withdrawn
146 | 20151110007 | 4 | Hampton | 40142 | Solar | NA | Withdrawn
147 | 20151110008 | 8.33 | Calhoun Falls Transmission | 11732 | Solar | NA | Withdrawn
148 | 20151110009 | 3.33 | Calhoun Falls Transmission | 11752 | Solar | NA | Withdrawn
149 | 20151110010 | 10 | Salley Junction | 50502 | Solar | NA | Withdrawn
150 | 20151112001 | 10 | Urquhart – Jackson 46 kV | NA | Solar | NA | Withdrawn
151 | 20151124001 | 8.16 | Pelion | 14762 | Solar | NA | Complete
152 | 20151124002 | 4.76 | Barnwell Industrial Park | 50422 | Solar | NA | Complete
153 | 20151125001 | 5 | Baldock | 16012 | Solar | NA | Withdrawn
154 | 20151210001 | 13.3 | Fairfax – Herrin 46 kV | NA | Solar | NA | Withdrawn
155 | 20151216001 | 75.6 | Graniteville – Ward 230 kV | NA | Solar | NA | Withdrawn
156 | 20151223001 | 1.67 | Silver Bluff | 30312 | Solar | NA | Withdrawn
157 | 20151223002 | 20 | Calhoun County – St. Matthews 46kV | NA | Solar | NA | Withdrawn
158 | 20151230001 | 1.2 | Allendale | 40052 | Solar | Complete | Withdrawn
159 | 20151230002 | 1 | Allendale | 40052 | Solar | Complete | Withdrawn
160 | 20160104001 | 0.336 | Varnville | 40022 | Solar | Complete | Complete
161 | 20160105001 | 8.75 | Beech Island | 2738 | Solar | NA | Withdrawn
162 | 20160108001 | 10 | Neeses | 48711 | Solar | NA | Withdrawn
163 | 20160120001 | 75.6 | Yemasee – McIntosh 115 kV Tie | NA | Solar | NA | Withdrawn
164 | 20160125001 | 10.2 | Gaston | 50392 | Solar | NA | Withdrawn
165 | 20160129001 | 10.88 | Pelion | 14782 | Solar | NA | Complete
166 | 20160129002 | 10.88 | Pelion | 14772 | Solar | NA | Complete
167 | 20160129003 | 20 | Blackville – Wagener 46 kV | NA | Solar | NA | Withdrawn
168 | 20160129004 | 0.96 | Wando | 95112 | Solar | Complete | Withdrawn
169 | 20160202001 | 1 | Polaris | 91412 | Solar | Complete | Complete
170 | 20160204001 | 5.04 | Fairfax | 40242 | Solar | NA | Withdrawn
171 | 20160208001 | 75.6 | Graniteville – Ward 230 kV | NA | Solar | NA | Complete
172 | 20160208002 | 11 | Sage Mill Industrial Park | 13072 | Solar | NA | Withdrawn
173 | 20160208003 | 11 | Aiken Industrial Park | 35182 | Solar | NA | Withdrawn
174 | 20160212001 | 10 | Barnwell Heights | 50052 | Solar | NA | Withdrawn
175 | 20160212002 | 10 | Neeses | 48711 | Solar | NA | Withdrawn
176 | 20160216001 | 10.2 | Jackson | 2798 | Solar | NA | Withdrawn
177 | 20160223001 | 0.972 | Killian Road | 63512 | Solar | Complete | Withdrawn
178 | 20160303001 | 6.68 | Bowman | 38602 | Solar | NA | Withdrawn
179 | 20160310001 | 7.2 | Fairfax | 40112 | Solar | NA | Withdrawn
180 | 20160314001 | 0.495 | Summerville Industrial Park | 70042 | Solar | Complete | Withdrawn
181 | 20160314002 | 20 | Blackville – Wagener 46kV | NA | Solar | NA | Withdrawn
182 | 20160323001 | 10.3 | Allendale | 40092 | Solar | NA | Withdrawn
183 | 20160328001 | 1 | Dixiana | 16312 | Solar | NA | Complete
184 | 20160328002 | 10 | Barnwell Heights | 50052 | Solar | NA | Withdrawn
185 | 20160330001 | 20 | Urquhart - Salem Switching Station 115 kV | NA | Solar | NA | Withdrawn
186 | 20160330002 | 20 | Canadys - SRS 230 kV | NA | Solar | NA | Withdrawn
187 | 20160413001 | 0.495 | Summerville Industrial Park | 70042 | Solar | Complete | Complete
188 | 20160419001 | 40 | Barnwell – Denmark 115 kV | NA | Solar | NA | Withdrawn
189 | 20160526001 | 0.276 | Pontiac | 20902 | Solar | Complete | Complete
190 | 20160629001 | 0.08 | Sage Mill Industrial Park | 13072 | Solar | Complete | Complete
191 | 20160707001 | 0.44 | Trenton | 10412 | Solar | Complete | Complete
192 | 20160713001 | 0.343 | Accabee | 5432 | Solar | Complete | Complete
193 | 20160718001 | 0.04 | Aiken Gregg Avenue | 18112 | Solar | Complete | Withdrawn
194 | 20160718002 | 0.08 | Aiken Gregg Avenue | 18112 | Solar | Complete | Complete
195 | 20160718003 | 0.08 | Aiken Gregg Avenue | 18142 | Solar | Complete | Complete
196 | 20160719001 | 0.2 | Hanahan | 90052 | Solar | Complete | Complete
197 | 20160721001 | 1 | VA Hospital | 20217 | Solar | Complete | Withdrawn
198 | 20160725001 | 0.684 | Allendale | 40052 | Solar | Complete | Complete
199 | 20160728001 | 0.09 | Dentsville | 89012 | Solar | Complete | Withdrawn
200 | 20160803001 | 72.5 | Eastover – Orangeburg East 115 kV | NA | Solar | NA | Withdrawn
201 | 20160805001 | 0.594 | St. Matthews | 20002 | Solar | Complete | Withdrawn
202 | 20160805002 | 0.528 | St. Matthews | 20002 | Solar | Complete | Withdrawn
203 | 20160805003 | 1 | Sage Mill Industrial Park | 13072 | Solar | Complete | Complete
204 | 20160808001 | 0.66 | Herrin | 40082 | Solar | Complete | Withdrawn
205 | 20160808002 | 0.66 | Allendale | 42042 | Solar | Complete | Withdrawn
206 | 20160808003 | 0.396 | Herrin | 42042 | Solar | Complete | Withdrawn
207 | 20160808004 | 0.198 | Allendale | 40082 | Solar | Complete | Withdrawn
208 | 20160809001 | 0.2598 | Osceola | 90462 | Solar | Complete | Complete
209 | 20160810001 | 0.198 | St. Matthews | 20022 | Solar | Complete | Withdrawn
210 | 20160810002 | 72.5 | Burton - Yemassee 115kV #2 | NA | Solar | NA | Complete
211 | 20160811001 | 10 | Silver Bluff | 30312 | Solar | NA | Withdrawn
212 | 20160816001 | 0.66 | Shell Point | 60402 | Solar | Complete | Complete
213 | 20160825001 | 0.198 | Silver Bluff | 30312 | Solar | Complete | Withdrawn
214 | 20160912001 | 0.5 | Polaris | 91412 | Solar | Complete | Withdrawn
215 | 20160912002 | 0.1 | Dixiana | 15342 | Solar | Complete | Withdrawn
216 | 20160919001 | 0.438 | Irmo | 19922 | Solar | Complete | Withdrawn
217 | 20160926001 | 0.135 | Summerville Industrial Park | 70042 | Solar | Complete | Complete
218 | 20160927001 | 7.48 | Swansea | 15082 | Solar | NA | Complete
219 | 20160928001 | 0.9 | Killian Road | 63512 | Solar | Complete | Complete
220 | 20161004001 | 0.04 | Savage Road | 1912 | Solar | Complete | Complete
221 | 20161006001 | 16.271 | Saluda Hydro - Saluda River 115 kV | NA | Natural Gas | NA | Complete
222 | 20161019001 | 0.96 | Lake Carolina | 29512 | Solar | Complete | Withdrawn
223 | 20161019002 | 0.96 | Kendrick | 18322 | Solar | Complete | Withdrawn
224 | 20161027001 | 5.01 | Jackson | 2798 | Solar | NA | Withdrawn
225 | 20161027002 | 3.6 | Barnwell City | 2432 | Solar | NA | Complete
226 | 20161031001 | 0.515 | Gaston | 50072 | Solar | Complete | Withdrawn
227 | 20161031002 | 0.46 | Gaston | 50082 | Solar | Complete | Withdrawn
228 | 20161031003 | 0.42 | Swansea | 15082 | Solar | Complete | Withdrawn
229 | 20161102001 | 0.0432 | Platt Springs | 19252 | Solar | Complete | Complete
230 | 20161103001 | 0.09 | Seven Mile | 90362 | Solar | Complete | Complete
231 | 20161109001 | 0.95 | Hampton | 40142 | Solar | Complete | Complete
232 | 20161117001 | 0.03285 | White Rock | 25402 | Solar | Complete | Complete
233 | 20161122001 | 0.199 | Savage Road | 92952 | Solar | Complete | Withdrawn
234 | 20161122002 | 0.198 | Hamlin | 90912 | Solar | Complete | Withdrawn
235 | 20161123001 | 0.09924 | Aiken Transmission | 35152 | Solar | Complete | Complete
236 | 20161128001 | 0.75 | Wando | 95122 | Solar | Complete | Complete
237 | 20161205001 | 0.072 | Brookwood | 15502 | Solar | Complete | Complete
238 | 20161208001 | 0.198 | Silver Bluff | 30312 | Solar | Complete | Withdrawn
239 | 20161221001 | 0.096 | Harbison | 77322 | Solar | Complete | Complete
240 | 20170103001 | 0.9 | Lexington Transmission | 25062 | Solar | Complete | Withdrawn
241 | 20170103002 | 0.96 | Springdale | 17212 | Solar | Complete | Complete
242 | 20170103003 | 0.99 | Sandhills | 76312 | Solar | Complete | Complete
243 | 20170103004 | 0.93 | Burton | 60562 | Solar | Complete | Complete
244 | 20170103005 | 0.99 | Kilbourne Park | 71912 | Solar | Complete | Withdrawn
245 | 20170103006 | 0.75 | Folly Road | 3582 | Solar | Complete | Withdrawn
246 | 20170103007 | 0.165 | Ladson | 13058 | Solar | Complete | Withdrawn
247 | 20170103008 | 0.48 | Stiefeltown | 17812 | Solar | Complete | Withdrawn
248 | 20170103009 | 0.18 | Kingswood | 86012 | Solar | Complete | Withdrawn
249 | 20170103010 | 0.17 | Bacons Bridge Road | 91262 | Solar | Complete | Complete
250 | 20170103011 | 0.63 | Sweetwater | 30112 | Solar | Complete | Complete
251 | 20170105001 | 0.027 | Thomas Island | 95352 | Solar | Complete | Complete
252 | 20170113001 | 4 | Hampton | 42012 | Solar | NA | Withdrawn
253 | 20170117001 | 6 | Denmark Industrial Park | 50302 | Solar | NA | Complete
254 | 20170117002 | 12 | Beaufort Industrial | 60042 | Solar | NA | Complete
255 | 20170117003 | 10 | Yemassee Central | 80222 | Solar | NA | Complete
256 | 20170119001 | 7.2 | Blackville | 2478 | Solar | NA | Complete
257 | 20170123001 | 74.97 | Orangeburg East - St. George 115 kV #1 | NA | Solar | NA | Complete
258 | 20170124001 | 0.09 | Williams Street | 31962 | Solar | Complete | Withdrawn
259 | 20170125001 | 0.1 | Saluda County | 19020 | Solar | Complete | Withdrawn
260 | 20170126001 | 0.054 | Lexington East Side | 42812 | Solar | Complete | Complete
261 | 20170130001 | 5 | Beech Island | 2738 | Solar | NA | Withdrawn
262 | 20170203001 | 0.42 | North Rhett | 90482 | Solar | Complete | Complete
263 | 20170206001 | 19.825 | Parris Island #2 | NA | Solar/Diesel/ Gas/Batteries | NA | Complete
264 | 20170213001 | 0.12 | Leesville | 10062 | Solar | Complete | Complete
265 | 20170214001 | 1 | VA Hospital | 20217 | Solar | Complete | Complete
266 | 20170215001 | 2 | Hampton | 42012 | Solar | NA | Complete
267 | 20170216001 | 0.56 | Shell Point | 60302 | Solar | Complete | Complete
268 | 20170216002 | 0.196 | Frogmore | 2152 | Solar | Complete | Complete
269 | 20170220001 | 0.45 | Sweetwater | 30152 | Solar | Complete | Withdrawn
270 | 20170221001 | 0.0438 | Irmo | 19922 | Solar | Complete | Complete
271 | 20170223001 | 0.0895 | Middleburg Mall | 89112 | Solar | Complete | Complete
272 | 20170224001 | 0.085 | Calhoun Street | 79212 | Solar | Complete | Complete
273 | 20170224003 | 0.043 | Beaufort Central | 60322 | Solar | Complete | Withdrawn
274 | 20170224004 | 0.0324 | Port Royal | 60472 | Solar | Complete | Complete
275 | 20170228001 | 0.0576 | Thomas Island | 95352 | Solar | Complete | Complete
276 | 20170306001 | 0.06 | Beaufort Central | 60322 | Solar | Complete | Complete
277 | 20170306002 | 0.179 | Beaufort Central | 60322 | Solar | Complete | Withdrawn
278 | 20170306003 | 0.07 | Burton | 60562 | Solar | Complete | Withdrawn
279 | 20170306004 | 0.1 | Seven Mile | 90362 | Solar | Complete | Withdrawn
280 | 20170307001 | 74.97 | Orangeburg East - St. George 115 kV #2 | NA | Solar | NA | Complete
281 | 20170307002 | 0.039 | Uptown | 52111 | Solar | Complete | Withdrawn
282 | 20170308001 | 21 | Ward - Mt. Vernon Mills Johnston 33 kV | NA | Solar | NA | Withdrawn
283 | 20170321001 | 0.096 | Lake Carolina | 29512 | Solar | Complete | Complete
284 | 20170321002 | 0.096 | Kendrick | 18322 | Solar | Complete | Complete
285 | 20170324001 | 0.5 | Sage Mill Industrial Park | 13072 | Solar | Complete | Complete
286 | 20170327001 | 0.048 | Accabee | 90812 | Solar | Complete | Complete
287 | 20170327002 | 0.036 | Columbia Industrial Park | 78602 | Solar | Complete | Complete
288 | 20170327003 | 0.05 | Congaree Vista | 20522 | Solar | Complete | Complete
289 | 20170328001 | 0.48 | Breezy Hill | 13072 | Solar | Complete | Withdrawn
290 | 20170328002 | 0.268 | Breezy Hill | 13072 | Solar | Complete | Withdrawn
291 | 20170330001 | 0.576 | Breezy Hill | 12002 | Solar | Complete | Complete
292 | 20170331001 | 0.08 | Faber Place | 90812 | Solar | Complete | Withdrawn
293 | 20170331002 | 0.06 | Belmont | 81012 | Solar | Complete | Complete
294 | 20170331003 | 0.06 | Lexington Industrial Park | 25212 | Solar | Complete | Complete
295 | 20170331004 | 0.086 | Beaufort Central | 60322 | Solar | Complete | Complete
296 | 20170331005 | 0.036 | Burton | 60562 | Solar | Complete | Complete
297 | 20170331006 | 0.0288 | Beaufort Central | 60322 | Solar | Complete | Complete
298 | 20170404001 | 0.03 | Summerville Plaza | 70902 | Solar | Complete | Complete
299 | 20170404002 | 1 | Stiefeltown | 17822 | Solar | Complete | Withdrawn
300 | 20170405001 | 75 | Wateree - St. George 230 kV | NA | Solar | NA | Complete
301 | 20170405002 | 72.1 | Dunbar Road – Orangeburg East 115 kV | NA | Solar | NA | Complete
302 | 20170407001 | 1 | Summerville Industrial Park | 70042 | Solar | Complete | Complete
303 | 20170411001 | 1 | Polaris | 91422 | Solar | Complete | Withdrawn
304 | 20170411002 | 1 | Polaris | 91422 | Solar | Complete | Withdrawn
305 | 20170413001 | 0.99 | Aiken Southside | 35152 | Solar | Complete | Withdrawn
306 | 20170417001 | 0.48 | Allendale | 40082 | Solar | Complete | Withdrawn
307 | 20170420001 | 0.864 | Sage Mill Industrial Park | 13062 | Solar | Complete | Withdrawn
308 | 20170421001 | 75 | Canadys - SRS 230 kV | NA | Solar | NA | Withdrawn
309 | 20170425001 | 0.03 | Summerville Plaza | 13052 | Solar | Complete | Withdrawn
310 | 20170425002 | 0.03 | Summerville Plaza | 13052 | Solar | Complete | Withdrawn
311 | 20170427001 | 0.3996 | Saxe Gotha Industrial Park | 15342 | Solar | Complete | Complete
312 | 20170427002 | 20 | Urquhart - Salem Switching Station 115 kV | NA | Solar | NA | Withdrawn
313 | 20170427003 | 20 | Canadys - SRS 230 kV | NA | Solar | NA | Withdrawn
314 | 20170428001 | 75 | Wateree - St. George 230 kV | NA | Solar | NA | Withdrawn
315 | 20170505001 | 21 | Ward - Mt. Vernon Mills Johnston 33 kV | NA | Solar | NA | Withdrawn
316 | 20170511001 | 1.62 | Dixiana | 15342 | Solar | Complete | Complete
317 | 20170531001 | 72.5 | Eastover – Orangeburg East 115 kV | NA | Solar | NA | Withdrawn
318 | 20170601001 | 0.06 | Aiken Gregg Avenue | 18112 | Solar | Complete | Complete
319 | 20170602001 | 58.932 | Cope - Denmark 115 kV | NA | Solar | NA | Withdrawn
320 | 20170621001 | 74.976 | Batesburg - Gilbert 115 kV | NA | Solar | NA | Complete
321 | 20170705001 | 0.1 | Leesville | 10062 | Solar | Complete | Complete
322 | 20170705002 | 0.1 | Leesville | 10062 | Solar | Complete | Complete
323 | 20170713001 | 75.6 | Denmark - Toolebeck 115 kV | NA | Solar | NA | Withdrawn
324 | 20170713002 | 75.6 | Jasper - Yemassee 230 kV #2 | NA | Solar | NA | Withdrawn
325 | 20170711001 | 75.6 | Fairfax - Yemassee 115 kV | NA | Solar | NA | Withdrawn
326 | 20170711002 | 75.6 | Ritter - Central Electric 115 kV | NA | Solar | NA | Withdrawn
327 | 20170711003 | 75.6 | Canadys - Yemassee 230 kV | NA | Solar | NA | Withdrawn
328 | 20170720001 | 0.0018 | Thomas Island | 95352 | Solar | Complete | Complete
329 | 20170720002 | 74.9 | Eastover - Square D 115 kV | NA | Solar | NA | Withdrawn
330 | 20170720003 | 73.6 | Wateree - Killian 230 kV | NA | Solar/Batteries | NA | Complete
331 | 20170727001 | 54 | Urquhart - Salem Switching Station 115 kV | NA | Solar/Batteries | NA | Withdrawn
332 | 20170727002 | 54 | Barnwell - Salem Switching Station 115 kV | NA | Solar/Batteries | NA | Withdrawn
333 | 20170727003 | 75 | Barnwell - Salem Switching Station 115 kV | NA | Solar | NA | Withdrawn
334 | 20170728001 | 66 | Wateree - St. George 230 kV | NA | Solar/Batteries | NA | In Progress
335 | 20170801001 | 22 | Santee – Elloree 46 kV | NA | Solar | NA | Withdrawn
336 | 20170802001 | 73.44 | Ritter - Ravenel (BEC) 115 kV | NA | Solar | NA | Withdrawn
337 | 20170803001 | 10.8 | Calhoun County – St. Matthews 46kV | NA | Solar | NA | Withdrawn
338 | 20170809001 | 5.01 | Denmark | 3102 | Solar | NA | Withdrawn
339 | 20170811001 | 75.6 | Ritter - Central Electric 115 kV | NA | Solar | NA | Withdrawn
340 | 20170814001 | 75.598 | Canadys - Faber Place 230 kV | NA | Solar | NA | Withdrawn
341 | 20170814002 | 75.6 | Canadys - Yemassee 230 kV | NA | Solar | NA | Withdrawn
342 | 20170814003 | 75.6 | Fairfax - Yemassee 115 kV | NA | Solar | NA | Withdrawn
343 | 20170815001 | 75.6 | Church Creek - Ritter 230 kV | NA | Solar | NA | Withdrawn
344 | 20170825001 | 62 | Edmund Switching Station - Owens Corning 115kV | NA | Solar/Batteries | NA | Withdrawn
345 | 20170906001 | 74.97 | Ward - Stevens Creek 115 kV | NA | Solar | NA | Withdrawn
346 | 20170911001 | 75 | Orangeburg East - St. George 115 kV #1 | NA | Solar | NA | Withdrawn
347 | 20170911002 | 62.206 | Canadys - Fairfax 115 kV | NA | Solar | NA | Withdrawn
348 | 20171006001 | 74.97 | Edenwood - Edmund Switching Station 115 kV | NA | Solar | NA | Withdrawn
349 | 20171006002 | 74.97 | Batesburg - Ward 115 kV | NA | Solar | NA | In Progress
350 | 20171006003 | 30 | Edmund Switching Station - Owens Corning 115kV | NA | Solar | NA | Withdrawn
351 | 20171013001 | 75.6 | Jasper - Yemassee 230 kV #1 | NA | Solar | NA | Withdrawn
352 | 20171016001 | 18.007 | North - Wagener Junction 46 kV | NA | Solar | NA | Withdrawn
353 | 20171017001 | 74.9 | Wateree - St. George 230 kV | NA | Solar | NA | Withdrawn
354 | 20171031001 | 70.2 | Ward - Johnston 115 kV | NA | Solar | NA | Withdrawn
355 | 20171101001 | 75.6 | Wateree - Hopkins 230 kV #2 | NA | Solar | NA | Withdrawn
356 | 20171101002 | 5.139 | Barnwell Industrial Park | 50432 | Solar | NA | Withdrawn
357 | 20171107001 | 75.6 | Jasper - Yemassee 230 kV #2 | NA | Solar | NA | Withdrawn
358 | 20171109001 | 75.6 | Church Creek - Ritter 230 kV | NA | Solar | NA | Withdrawn
359 | 20171109002 | 75.6 | Ritter - Central Electric 115 kV | NA | Solar | NA | Withdrawn
360 | 20171116001 | 5.4 | Olar | 11608 | Solar | NA | Withdrawn
361 | 20171116002 | 67.69 | Denmark - Toolebeck 115 kV | NA | Solar | NA | Withdrawn
362 | 20171121001 | 75.6 | Canadys - Church Creek 230 kV | NA | Solar | NA | Withdrawn
363 | 20171122001 | 17.6 | Urquhart - Jackson 46 kV | NA | Solar | NA | Withdrawn
364 | 20171130001 | 76.52 | Orangeburg East - St. George 115 kV #1 | NA | Solar | NA | Withdrawn
365 | 20171221001 | 6 | Walterboro Industrial | 80402 | Solar | NA | Withdrawn
366 | 20180108001 | 75 | Canadys - Cope 230kV | NA | Solar | NA | Withdrawn
367 | 20180103001 | 79.8 | Eastover - Orangeburg 115 kV | NA | Solar | NA | Withdrawn
368 | 20180103002 | 78.2 | Columbia Industrial Park - Edenwood 115 kV | NA | Solar | NA | Withdrawn
369 | 20180119001 | 74.999 | Church Creek - Ravenel (BEC) 115 kV | NA | Solar | NA | Withdrawn
370 | 20180119002 | 20.286 | Adams Run | 80152 | Solar | NA | Withdrawn
371 | 2018012201 | 0.36 | Folly Road | 3582 | Solar | Complete | Withdrawn
372 | 20180128001 | 14 | Urquhart - Jackson 46 kV | NA | Solar | NA | Withdrawn
373 | 20180130001 | 3 | Barnwell Industrial Park | 50432 | Solar | NA | Withdrawn
374 | 20180131001 | 0.1 | Thomas Island | 95342 | Solar | Complete | Complete
375 | 20180205001 | 1.98 | Bridgestone #1 | NA | Solar | NA | Complete
376 | 20180206001 | 0.12 | Trenton | 10412 | Solar | Complete | Withdrawn
377 | 20180221001 | 74.999 | Canadys - Faber Place 230 kV | NA | Solar | NA | Withdrawn
378 | 20180227001 | 0.0366 | Lexington Industrial Park | 25212 | Solar | Complete | Complete
379 | 20180305001 | 74.9 | Canadys - SRS 230 kV | NA | Solar | NA | Withdrawn
380 | 20180318001 | 14.174 | Adams Run | 80152 | Solar | NA | Withdrawn
381 | 20180320001 | 25 | Orangeburg East - St. George 115 kV #1 | NA | Solar | NA | Withdrawn
382 | 20180330001 | 6.375 | Silver Bluff | 30312 | Solar | NA | Withdrawn
383 | 20180416001 | 15 | Orangeburg East - St. George 115 kV #2 | NA | Solar/Batteries | NA | Withdrawn
384 | 20180418001 | 18 | North - Wagener Junction 46 kV | NA | Solar | NA | Withdrawn
385 | 20180424001 | 16 | Holly Hill | 20042 | Solar | NA | Withdrawn
386 | 20180424002 | 40 | Wateree - Killian 230 kV | NA | Solar | NA | Withdrawn
387 | 20180426001 | 40 | Barnwell – Denmark 115 kV | NA | Solar | NA | Withdrawn
388 | 20180426002 | 73.98 | Denmark - Toolebeck 115 kV | NA | Solar | NA | Withdrawn
389 | 20180502001 | 20 | Edmund | 16112 | Solar | NA | Withdrawn
390 | 20180510001 | 75 | Orangeburg East - St. George 115 kV #2 | NA | Solar | NA | Withdrawn
391 | 20180514001 | 0.43 | Breezy Hill | 13072 | Solar | Complete | Withdrawn
392 | 20180514002 | 0.24 | Breezy Hill | 13072 | Solar | Complete | Withdrawn
393 | 20180525001 | 0.48 | Killian Road | 63512 | Solar | Complete | Complete
394 | 20180604001 | 40 | Fairfax - Yemassee 115 kV | NA | Solar | NA | Withdrawn
395 | 20180614001 | 0.055 | Ten Mile | 90182 | Solar | Complete | Complete
396 | 20180709001 | 0.133 | Summerville | 70502 | Solar | Complete | Complete
397 | 20180720001 | 79.8 | Okatie - Yemassee 115 kV | NA | Solar | NA | Withdrawn
398 | 20180720002 | 79.8 | Jasper - Yemassee 230 kV #1 | NA | Solar | NA | Withdrawn
399 | 20180724001 | 50 | Parr - Winnsboro 115 kV #1 | NA | Solar/Batteries | NA | Withdrawn
400 | 20180731001 | 0.4 | Northwoods | 91112 | Solar | Complete | Withdrawn
401 | 20180810001 | 0.03 | Park Street | 39331 | Solar | Complete | Complete
402 | 20180810002 | 0.075 | Lexington West Side | 81512 | Solar | Complete | Withdrawn
403 | 20180820001 | 0.48 | Summerville Industrial Park | 70042 | Solar | Complete | Complete
404 | 20180828001 | 0.021168 | Killian Road | 63612 | Solar | Complete | Withdrawn
405 | 20180829001 | 0.027 | Springdale | 17112 | Solar | Complete | Complete
406 | 20180911001 | 0.045 | Belmont | 81012 | Solar | Complete | Withdrawn
407 | 20180911002 | 0.023 | Aiken Gregg Avenue | 18122 | Solar | Withdrawn | Withdrawn
408 | 20180917001 | 0.09 | St. Matthews 23 kV | 20002 | Solar | Complete | Complete
409 | 20180917002 | 0.09 | St. Matthews 23 kV | 20002 | Solar | Complete | Complete
410 | 20180920001 | 0.1 | Batesburg Trans | 18842 | Solar | Complete | Complete
411 | 20180920002 | 0.1 | Batesburg Trans | 18842 | Solar | Complete | Complete
412 | 20180920003 | 0.06 | Batesburg Trans | 18842 | Solar | Complete | Complete
413 | 20181018001 | 10 | Ward | 20602 | Solar | NA | Withdrawn
414 | 20181102001 | 0.05 | Navy Yard | 91222 | Batteries | Complete | Complete
415 | 20181121001 | 0.95 | Allendale | 40052 | Solar | Complete | Withdrawn
416 | 20181129001 | 0.24 | Summerville Industrial Park | 70142 | Solar | Complete | Withdrawn
417 | 20181214001 | 0.21 | Hanahan | 91162 | Solar | Complete | Complete
418 | 20181226001 | 0.36 | Congaree Creek | 23912 | Solar | Complete | Complete
419 | 20181227001 | 0.53 | Lexington Transmission | 24862 | Solar | Complete | Complete
420 | 20181227002 | 1.95 | Sage Mill Industrial Park | 13072 | Solar/Batteries | Complete | Complete
421 | 20181228001 | 3.635 | Sage Mill Industrial Park | 13072 | Diesel Gen/Batteries | NA | Withdrawn
422 | 20190108001 | 0.1332 | Summerville Industrial Park | 70042 | Solar | Complete | Complete
423 | 20190110001 | 70 | Wateree - St. George 230 kV | NA | Solar | NA | Withdrawn
424 | 20190114001 | 0.0576 | Estill | 1952 | Solar | Complete | Complete
425 | 20190118001 | 0.0376 | Williams Street | 31852 | Solar | Complete | Complete
426 | 20190124001 | 1 | Ridgeland 23 kV | 60162 | Solar | Complete | Withdrawn
427 | 20190125001 | 0.4125 | Sage Mill Industrial Park | 13072 | Solar | Complete | Withdrawn
428 | 20190128001 | 0.24 | Ridgeland 23kV | 60162 | Solar | Complete | Withdrawn
429 | 20190128002 | 0.0784 | Ridgeland 23kV | 60282 | Solar | Complete | Withdrawn
430 | 20190204001 | 0.3332 | Summerville Industrial Park | 70042 | Solar | Complete | Complete
431 | 20190205001 | 0.09 | Sparkleberry | 64012 | Solar | Complete | Complete
432 | 20190211001 | 3.1 | Breezy Hill | 12002 | Solar | NA | Withdrawn
433 | 20190213001 | 0.3 | Jackson | 2798 | Solar | Complete | Complete
434 | 20190213002 | 0.2 | Langley | 30082 | Solar | Complete | Withdrawn
435 | 20190213003 | 0.4 | Silver Bluff | 30302 | Solar | Complete | Complete
436 | 20190213004 | 0.45 | Sage Mill Industrial Park | 13072 | Solar | Complete | Complete
437 | 20190213005 | 0.15 | Sage Mill Industrial Park | 13072 | Solar | Complete | Complete
438 | 20190213006 | 0.5 | Wagener | 73412 | Solar | Complete | Complete
439 | 20190215001 | 0.02204 | Callawassie Island | 60742 | Solar | Complete | Complete
440 | 20190215002 | 0.36 | Summerville Industrial Park | 70042 | Solar | Complete | Complete
441 | 20190215003 | 0.18 | Summerville Industrial Park | 70042 | Solar | Complete | Withdrawn
442 | 20190215004 | 0.24 | Ridgeville 12kV | 3084 | Solar | Complete | Complete
443 | 20190215005 | 0.06 | Ridgeville 12kV | 3084 | Solar | Complete | Withdrawn
444 | 20190215006 | 0.086 | Ridgeville 12kV | 3084 | Solar | Complete | Complete
445 | 20190301001 | 0.15 | Columbia Industrial Park | 79812 | Solar | Complete | Withdrawn
446 | 20190314001 | 0.0666 | CAE Industrial Park | 11902 | Solar | Complete | Complete
447 | 20190318001 | 0.0656 | Bluffton | 60922 | Solar | Complete | Withdrawn
448 | 20190318002 | 10.5 | Clearwater | 30452 | Solar | NA | Withdrawn
449 | 20190409001 | 0.075 | Lexington West Side | 81512 | Solar | Complete | Complete
450 | 20190417001 | 0.0432 | Irmo | 19842 | Solar | Complete | Complete
451 | 20190422001 | 0.1 | Mount Pleasant | 90222 | Solar | Complete | Withdrawn
452 | 20190429001 | 0.0684 | Coit | 13932 | Solar | Complete | Withdrawn
453 | 20190502001 | 0.0866 | Columbia Industrial Park | 79812 | Solar | Complete | Withdrawn
454 | 20190503001 | 0.44 | Summerville Industrial Park | 70042 | Solar | Complete | Withdrawn
455 | 20190503002 | 0.05 | Congaree Vista | 20342 | Solar | Complete | Withdrawn
456 | 20190507001 | 0.0376 | Rantowles | 92012 | Solar | Complete | Complete
457 | 20190507002 | 0.0804 | Rantowles | 92012 | Solar | Complete | Complete
458 | 20190508001 | 0.065 | Lexington Transmission | 19832 | Solar | Complete | Complete
459 | 20190508002 | 0.025 | Greengate | 16812 | Solar | Complete | Complete
460 | 20190509001 | 0.0864 | Gills Creek | 89712 | Solar | Complete | Withdrawn
461 | 20190510001 | 0.15 | Hanahan | 91162 | Solar | Complete | Complete
462 | 20190617001 | 3.52 | Laurel Bay | 60862 | Solar | NA | Withdrawn
463 | 20190716001 | 0.078 | Burton | 60562 | Solar | Complete | Withdrawn
464 | 20190716002 | 10 | Killian Road | 63512 | Batteries | NA | Withdrawn
465 | 20190718001 | 10 | Lyles | 15912 | Batteries | NA | Withdrawn
466 | 20190729001 | 0.025 | North Rhett | 90472 | Solar | Complete | Complete
467 | 20190821001 | 10 | Hamlin | 90952 | Batteries | NA | Withdrawn
468 | 20190827001 | 1.998 | Laurel Bay | 60852 | Solar | Complete | Withdrawn
469 | 20190912001 | 25.3 | McCormick - Willington 46kV | NA | Solar | NA | Withdrawn
470 | 20190919001 | 0.078 | Burton | 60562 | Solar | Complete | Complete
471 | 20191029001 | 0.25 | Forest Hills | 80102 | Solar | Complete | Complete
472 | 20191113001 | 0.01296 | Polaris | 91422 | Solar | Complete | Complete
473 | 20191125001 | 0.00624 | Polaris | 91422 | Solar | Withdrawn | Withdrawn
474 | 20191125002 | 0.00576 | Cainhoy Transmission | 95762 | Solar | Withdrawn | Withdrawn
475 | 20191205001 | 0.006 | Bosch | 90782 | Solar | Complete | Complete
476 | 20191230001 | 0.005 | Polaris | 91422 | Solar | Complete | Complete
477 | 20200102001 | 2 | Columbia Sewage | 79852 | Solar | Withdrawn | Withdrawn
478 | 20200114001 | 0.0234 | North Augusta | 30502 | Solar | Withdrawn | Withdrawn
479 | 20200302001 | 0.0055 | Bosch | 90782 | Solar | Complete | Complete
480 | 20200311001 | 0.05 | Wando | 95122 | Solar | Complete | Complete
481 | 20200413001 | 0.0037 | Bosch | 90782 | Solar | Complete | Withdrawn
482 | 20200414001 | 0.036 | James Island | 90132 | Solar | Withdrawn | Withdrawn
483 | 20200501001 | 0.0067 | Polaris | 91422 | Solar | Complete | Complete
484 | 20200506001 | 0.0576 | Chapin Business Park | 20182 | Solar | Complete | Complete
485 | 20200506002 | 0.0288 | Chapin Business Park | 20182 | Solar | Complete | Withdrawn
486 | 20200623001 | 0.0114 | Polaris | 91422 | Solar | Withdrawn | Withdrawn
487 | 20200706001 | 0.06 | Springdale | 17412 | Solar | Withdrawn | Withdrawn
488 | 20200727001 | 0.00696 | Polaris | 91422 | Solar | Complete | Complete
489 | 20200730001 | 0.0114 | Polaris | 91422 | Solar | Complete | Complete
490 | 20200820001 | 0.15 | Ten Mile | 90192 | Solar | Complete | Complete
491 | 20200909001 | 0.1272 | Lower Richland | 78012 | Solar | Complete | Complete
492 | 20200921001 | 0.0076 | Polaris | 91422 | Solar | Complete | Complete
493 | 20200924001 | 0.02784 | Lexington Transmission | 15362 | Solar | Withdrawn | Withdrawn
494 | 20200928001 | 0.0076 | Polaris | 91422 | Solar | Complete | Complete
495 | 20201005001 | 0.1 | Mount Pleasant | 90222 | Solar | Complete | Complete
496 | 20201015001 | 0.044 | Hardeeville | 10352 | Solar | Withdrawn | Withdrawn
497 | 20201021001 | 0.0062 | Polaris | 91422 | Solar | Complete | Complete
498 | 20201028001 | 2 | Lyles | 15912 | Batteries | Complete | Withdrawn
499 | 20201028002 | 2 | Killian Road | 63512 | Batteries | Complete | Withdrawn
500 | 20201028003 | 2 | Estill Southside | 40072 | Batteries | Complete | Withdrawn
501 | 20201109001 | 0.006 | Polaris | 91422 | Solar | Complete | Complete
502 | 20201109002 | 0.0051 | Polaris | 91422 | Solar | Complete | Complete
503 | 20201117001 | 2 | Gaston | 50072 | Batteries | Complete | Withdrawn
504 | 20201117002 | 2 | Sparkleberry | 63102 | Batteries | Complete | Withdrawn
505 | 20201117003 | 2 | Hamlin | 90952 | Batteries | Complete | Withdrawn
506 | 20201117004 | 0.066 | Burton | 60572 | Solar | Complete | Complete
507 | 20201119001 | 0.0432 | Bosch | 90782 | Solar | Complete | Withdrawn
508 | 20201119002 | 0.021 | Old Fort | 70072 | Solar | Complete | Withdrawn
509 | 20201119003 | 0.036 | Charleston Airport | 91202 | Solar | Withdrawn | Withdrawn
510 | 20201120001 | 0.01332 | Northbridge | 90522 | Solar | Complete | Complete
511 | 20201120002 | 0.05544 | Hardeeville | 10352 | Solar | WIthdrawn | Withdrawn
512 | 20201203001 | 0.0152 | Richland Mall | 74222 | Solar | Complete | Complete
513 | 20201214001 | 0.1 | Lake Carolina | 29412 | Solar | Complete | Complete
514 | 20201228001 | 0.3 | Yemassee Central | 80222 | Solar | Complete | Complete
515 | 20201228002 | 0.148 | Yemassee Central | 80222 | Solar | Complete | Complete
516 | 20210107001 | 0.0666 | Summerville | 70702 | Solar | Complete | Withdrawn
517 | 20210119001 | 0.22 | Summerville Industrial Park | 70042 | Solar | Complete | Complete
518 | 20210119002 | 0.11 | Summerville Industrial Park | 70042 | Solar | Complete | Complete
519 | 20210120001 | 0.0102 | Polaris | 91422 | Solar | Complete | Complete
520 | 20210201001 | 0.0228 | Columbia Industrial Park | 78602 | Solar | Complete | Complete
521 | 20210208001 | 0.0062 | Polaris | 91422 | Solar | Complete | Complete
522 | 20210208002 | 0.2 | Ladson | 13042 | Solar | Complete | Complete
523 | 20210210001 | 0.16 | Summerville Industrial Park | 70202 | Solar | Complete | Complete
524 | 20210222001 | 0.0072 | Bosch | 90782 | Solar | Complete | Complete
525 | 20210223001 | 0.0076 | Lexington Transmission | 15362 | Solar | Withdrawn | Withdrawn
526 | 20210301001 | 0.0076 | Polaris | 91422 | Solar | Complete | Complete
527 | 20210325001 | 0.0114 | Bosch | 90782 | Solar | Complete | Complete
528 | 20210330001 | 0.0485 | Summerville | 70702 | Solar | Complete | Complete
529 | 20210405001 | 0.045 | Hardeeville | 10352 | Solar | Complete | Complete
530 | 20210405002 | 0.04818 | Hardeeville | 10352 | Solar | Complete | Complete
531 | 20210405003 | 2 | Estill Southside | 40072 | Batteries | Complete | Withdrawn
532 | 20210405004 | 2 | Lyles | 15912 | Batteries | Complete | Withdrawn
533 | 20210405005 | 2 | Killian Road | 63512 | Batteries | Complete | Withdrawn
534 | 20210412001 | 0.0107 | Bosch | 90782 | Solar | Complete | Complete
535 | 20210511001 | 0.0034 | Bosch | 90782 | Solar | Complete | Complete
536 | 20210511002 | 0.0015 | Polaris | 91422 | Solar | Complete | Complete
537 | 20210512001 | 0.99 | Columbia Industrial Park - Ft. Jackson #2 115 kV | NA | Natural Gas | NA | Complete
538 | 20210512002 | 0.225 | Columbia Industrial Park - Ft. Jackson #2 115 kV | NA | Natural Gas | NA | Withdrawn
539 | 20210512003 | 0.1291 | Columbia Industrial Park | 78502 | Solar | Complete | Withdrawn
540 | 20210512004 | 0.1966 | Columbia Industrial Park | 78502 | Solar | Complete | Withdrawn
541 | 20210512005 | 0.25 | Columbia Industrial Park | 78502 | Solar | Complete | Withdrawn
542 | 20210512006 | 0.0833 | Columbia Industrial Park | 78502 | Solar | Complete | Withdrawn
543 | 20210512007 | 0.3 | Columbia Industrial Park | 78502 | Solar | Complete | Withdrawn
544 | 20210514001 | 0.34 | Ladson | 13058 | Solar | Complete | Complete
545 | 20210524001 | 0.5332 | Muller Avenue | 75212 | Solar | Complete | Complete
546 | 20210524002 | 0.5 | Victory Gardens | 23611 | Solar | Complete | Complete
547 | 20210524003 | 0.7 | Kingswood | 83012 | Solar | Complete | Complete
548 | 20210526001 | 0.8 | Muller Avenue | 75112 | Solar | Complete | Complete
549 | 20210526002 | 0.3732 | Kingswood | 86012 | Solar | Complete | Complete
550 | 20210526003 | 0.4998 | Arrowood | 14802 | Solar | Complete | Complete
551 | 20210527001 | 0.06 | Deer Park | 70222 | Solar | Complete | Withdrawn
552 | 20210528001 | 0.1 | Belmont | 84112 | Solar | Complete | Complete
553 | 20210528002 | 0.34 | Circle Drive | 78312 | Solar | Complete | Complete
554 | 20210528003 | 0.2066 | Gills Creek | 89612 | Solar | Complete | Complete
555 | 20210528004 | 0.5 | Jack Primus | 95532 | Solar | Complete | Withdrawn
556 | 20210528005 | 0.12 | Jack Primus | 95532 | Solar | Complete | Withdrawn
557 | 20210528006 | 0.05 | Northwoods | 91212 | Solar | Complete | Withdrawn
558 | 20210528007 | 0.06 | Old Fort | 70072 | Solar | Complete | Complete
559 | 20210528008 | 0.05 | Bluffton | 60902 | Solar | Complete | Complete
560 | 20210528009 | 0.025 | Maryville | 90112 | Solar | Complete | Complete
561 | 20210528010 | 0.06 | Coosaw Creek | 70982 | Solar | Complete | Withdrawn
562 | 20210528011 | 0.075 | Hanahan | 91152 | Solar | Complete | Complete
563 | 20210528012 | 0.05 | Savage Road | 01972 | Solar | Complete | Complete
564 | 20210528013 | 0.05 | Church Creek | 92092 | Solar | Complete | Complete
565 | 20210528014 | 0.05 | Saluda Hydro Transmission | 19312 | Solar | Complete | Complete
566 | 20210528015 | 0.05 | Hamlin | 90952 | Solar | Complete | Complete
567 | 20210528016 | 0.025 | Irmo | 19412 | Solar | Complete | Withdrawn
568 | 20210531001 | 0.049 | Bellwright | 70462 | Solar | Complete | Complete
569 | 20210601001 | 0.12 | Woodfield Park | 50062 | Solar | Complete | Complete
570 | 20210601002 | 0.48 | Bayview | 95052 | Solar | Withdrawn | Withdrawn
571 | 20210602001 | 0.533 | Lower Richland | 78802 | Solar | Complete | Complete
572 | 20210602002 | 0.6664 | Lower Richland | 78012 | Solar | Complete | Complete
573 | 20210602003 | 0.2 | Lower Richland | 78802 | Solar | Complete | Complete
574 | 20210603001 | 0.04617 | East Columbia | 18902 | Solar | Complete | Withdrawn
575 | 20210603002 | 0.03807 | East Columbia | 18902 | Solar | Complete | Withdrawn
576 | 20210604001 | 0.1332 | Victory Gardens | 23311 | Solar | Complete | Complete
577 | 20210604002 | 0.4662 | Victory Gardens | 23311 | Solar | Withdrawn | Withdrawn
578 | 20210604003 | 0.4332 | Dentsville | 88712 | Solar | Complete | Complete
579 | 20210608001 | 0.2664 | Dentsville | 88712 | Solar | Complete | Complete
580 | 20210608002 | 0.3665 | Howard Street | 78212 | Solar | Complete | Complete
581 | 20210608003 | 0.1466 | Park Street | 32112 | Solar | Complete | Complete
582 | 20210616001 | 0.9625 | Aiken Hampton Avenue | 18032 | Solar | Complete | Withdrawn
583 | 20210622001 | 0.4 | Batesburg Trans | 13282 | Solar | Complete | In Progress
584 | 20210720001 | 0.1 | Saluda County | 19132 | Solar | Withdrawn | Withdrawn
585 | 20210720002 | 0.095 | Saluda County | 19132 | Solar | Withdrawn | Withdrawn
586 | 20210720003 | 0.095 | Saluda County | 19132 | Solar | Complete | Complete
587 | 20210721001 | 0.0084 | Polaris | 91422 | Solar | Complete | Complete
588 | 20210722001 | 0.01 | Bosch | 90782 | Solar | Complete | Complete
589 | 20210810001 | 0.003 | Polaris | 91422 | Solar | Complete | Complete
590 | 20210915001 | 10.685 | Bee Street | 90152 | Combined Heat & Power | NA | Withdrawn
591 | 20211014001 | 0.06 | Deer Park | 70222 | Solar | Complete | Complete
592 | 20211015001 | 1 | Saluda Hydro Transmission | 19112 | Solar | Complete | Withdrawn
593 | 20211022001 | 0.0086 | Bosch | 90782 | Solar | Complete | Complete
594 | 20211025001 | 0.1 | Saxe Gotha Industrial Park | 27712 | Solar | Complete | Complete
595 | 20211206001 | 75 | McCormick - Calhoun Falls 115kV | NA | Solar/Batteries | NA | Withdrawn
596 | 20220103001 | 0.0069 | Polaris | 91422 | Solar | Complete | Complete
597 | 20220125001 | 0.01 | Polaris | 91422 | Solar | Complete | Complete
598 | 20220127001 | 0.2708 | Irmo | 19412 | Solar | Complete | Complete
599 | 20220127002 | 0.06 | Irmo | 19612 | Solar | Complete | Complete
600 | 20191204001 | 10 | Hamlin | 90952 | Batteries | NA | Withdrawn
601 | 20191204002 | 10 | Killian Road | 63512 | Batteries | NA | Withdrawn
602 | 20191204003 | 10 | Lyles | 15912 | Batteries | NA | Withdrawn
603 | 20200921002 | 10 | Estill Southside | 40072 | Batteries | NA | Withdrawn
604 | 20200921003 | 10 | Sparkleberry | 63102 | Batteries | NA | Withdrawn
605 | 20200921004 | 10 | Gaston | 50072 | Batteries | NA | Withdrawn
606 | 20220211001 | 0.0114 | Polaris | 91422 | Solar | Complete | Complete
607 | 20220309001 | 0.0049 | Polaris | 91422 | Solar/Batteries | Complete | Complete
608 | 20220321001 | 0.2 | Calhoun Falls Transmission | 11732 | Solar | Complete | Withdrawn
609 | 20220323001 | 2 | Goose Creek - Westvaco 115kV | NA | Solar | NA | Withdrawn
610 | 20220324001 | 80 | Edenwood - Edmund Switching Station 115 kV | NA | Solar | NA | Withdrawn
611 | 20220325001 | 0.0067 | Polaris | 91422 | Solar | Complete | Complete
612 | 20220406001 | 0.0384 | Woodfield Park | 50322 | Solar | In Progress | Withdrawn
613 | 20220418001 | 0.0049 | Sage Mill Industrial Park | 13072 | Solar | Complete | Complete
614 | 20220421001 | 0.0041 | Polaris | 91422 | Solar | Complete | Complete
615 | 20220422001 | 0.0288 | Fort Johnson Road | 92232 | Solar | Complete | Withdrawn
616 | 20220427001 | 0.03072 | Kingswood | 86012 | Solar | Complete | Complete
617 | 20220428001 | 0.0833 | Springdale | 17212 | Solar | Complete | Complete
618 | 20220519001 | 0.0038 | Bosch | 90782 | Solar | Complete | Complete
619 | 20220523001 | 0.0084 | Hanahan | 90042 | Solar | Complete | Complete
620 | 20220523002 | 0.0023 | Polaris | 91422 | Solar | Complete | Complete
621 | 20220526001 | 0.5 | Goose Creek - Westvaco 115kV | NA | Solar | NA | Withdrawn
622 | 20220601001 | 17.5 | Boney Road | 20812 | Solar | NA | Withdrawn
623 | 20220606001 | 0.0106 | Bosch | 90782 | Solar | Complete | Withdrawn
624 | 20220613001 | 0.1665 | Cromer Road | 12802 | Solar | Complete | Complete
625 | 20220613002 | 0.0035 | Bosch | 90782 | Solar | Complete | Complete
626 | 20220713001 | 0.027 | Saint Andrews | 11512 | Solar | Complete | Complete
627 | 20220713002 | 0.0133 | James Prioleau | 92112 | Solar/Batteries | Complete | Complete
628 | 20220719001 | 0.12 | Coit | 13932 | Solar | In Progress | Withdrawn
629 | 20220720001 | 0.021 | Woodfield Park | 50322 | Solar | Complete | Withdrawn
630 | 20220802001 | 0.0074 | Bosch | 90782 | Solar | Complete | Complete
631 | 20220805001 | 0.0063 | Polaris | 91422 | Solar | Complete | Withdrawn
632 | 20220805002 | 0.0054 | Bosch | 90782 | Solar | Complete | Complete
633 | 20220805003 | 0.0045 | Bosch | 90782 | Solar | Complete | Complete
634 | 20220810001 | 0.01 | Polaris | 91422 | Solar | Complete | Complete
635 | 20220810002 | 0.042 | Charleston Airport | 91202 | Solar | Complete | Complete
636 | 20220810003 | 0.024 | Old Fort | 70072 | Solar | Complete | Complete
637 | 20220812001 | 0.0666 | Northbridge Terrace | 90322 | Solar | Complete | Complete
TC1 | See Transitional Cluster Queue posted on OASIS for details |  |  |  |  | N/A | In Progress
638 | 20220829001 | 0.007 | Pritchardville | 61242 | Solar | In Progress | Withdrawn
639 | 20220927001 | 0.0051 | Polaris | 91422 | Solar | Complete | Complete
640 | 20220927002 | 0.025 | Pine Hill | 70632 | Solar | Complete | Complete
641 | 20220928001 | 0.025 | Lexington East Side | 42912 | Solar | In Progress | Withdrawn
642 | 20220928002 | 0.025 | Lexington East Side | 42912 | Solar | In Progress | Withdrawn
643 | 20221005001 | 0.0066 | Polaris | 91422 | Solar | Complete | Complete
644 | 20221012001 | 0.0076 | Bosch | 90782 | Solar | Complete | Complete
645 | 20221101001 | 0.1 | Cayce | 34311 | Solar | Complete | In Progress
646 | 20221101002 | 0.1 | Harbison | 98002 | Solar | Complete | Withdrawn
647 | 20221115001 | 0.12 | Bee Street | 90152 | Solar | Complete | Complete
648 | 20221118001 | 0.0063 | Polaris | 91422 | Solar | Complete | Complete
649 | 20221129001 | 0.0143 | Polaris | 91422 | Solar | Complete | Complete
650 | 20221129002 | 0.05 | Deer Park | 70222 | Solar | Complete | Complete
651 | 20221202001 | 0.0058 | Bosch | 90782 | Solar | Complete | Complete
652 | 20221207001 | 0.1 | South Main | 49312 | Solar | Complete | Withdrawn
653 | 20221219001 | 0.05 | Pontiac | 11002 | Solar | Complete | Complete
654 | 20221219002 | 0.06 | North Rhett | 90472 | Solar | Complete | Withdrawn
655 | 20221219003 | 0.075 | Bosch | 90772 | Solar | Complete | Complete
656 | 20221219004 | 0.05376 | Coosaw Creek | 70982 | Solar | Complete | Withdrawn
657 | 20221228001 | 0.1 | Harbison | 98002 | Solar | Complete | Withdrawn
658 | 20221228002 | 0.1 | Cayce | 34311 | Solar | Complete | Complete
659 | 20221228003 | 0.036 | Kingswood | 86012 | Solar | In Progress | Withdrawn
660 | 20230103001 | 0.125 | Garners Ferry | 94612 | Solar | Complete | Complete
661 | 20230113001 | 0.05 | Shell Point | 60202 | Solar | Complete | Complete
662 | 20230123001 | 0.008 | Polaris | 91422 | Solar | Complete | Complete
663 | 20230201001 | 0.05 | Williams Street | 32012 | Solar | In Progress | Withdrawn
664 | 20230202001 | 0.025 | Lexington East Side | 42912 | Solar | In Progress | Withdrawn
665 | 20230210001 | 0.062 | Meeting Street | 4562 | Solar | Complete | Complete
666 | 20230216001 | 0.03 | Kingswood | 86012 | Solar | Complete | Complete
667 | 20230228001 | 0.05 | Lake Carolina | 29512 | Solar | In Progress | Withdrawn
668 | 20230307001 | 0.085 | Maryville | 93042 | Solar | In Progress | Withdrawn
669 | 20230307002 | 0.025 | Yemassee Central | 80212 | Solar | Complete | Complete
670 | 20230315001 | 0.06 | Coosaw Creek | 70982 | Solar | Complete | Complete
671 | 20230316001 | 0.06 | North Rhett | 90472 | Solar | Complete | Complete
672 | 20230322001 | 0.05 | Rader | 16412 | Solar | Complete | Complete
673 | 20230327001 | 0.4 | Columbia Industrial Park | 78502 | Solar | Complete | Complete
674 | 20230328001 | 0.24 | Richland Mall | 73822 | Solar | Complete | Withdrawn
675 | 20230328002 | 0.28 | Richland Mall | 73822 | Solar | Complete | Withdrawn
676 | 20230328003 | 0.16 | Richland Mall | 73822 | Solar | Complete | Withdrawn
677 | 20230412001 | 0.0076 | Bosch | 90782 | Solar | Complete | Complete
678 | 20230412002 | 0.04877 | Williams Street | 32012 | Solar | Complete | Complete
679 | 20230530001 | 0.18 | Shell Point | 60302 | Solar | Complete | Complete
680 | 20230605001 | 0.033 | Timberlake | 13502 | Solar | In Progress | Withdrawn
681 | 20230609001 | 0.009 | Bosch | 90782 | Solar | Complete | Complete
682 | 20230613001 | 0.5 | Goose Creek - Westvaco 115kV | NA | Solar | NA | In Progress
683 | 20230707001 | 0.05 | Kendrick | 18322 | Solar | In Progress | Withdrawn
684 | 20230719001 | 0.03 | Boney Road | 20712 | Solar/Batteries | Complete | Complete
685 | 20230721001 | 0.0058 | Polaris | 91422 | Solar | Complete | Withdrawn
686 | 20230727001 | 0.05 | Williams Street | 31962 | Solar | Complete | Complete
687 | 20230807001 | 0.0038 | Bosch | 90782 | Solar | Complete | Withdrawn
688 | 20230824001 | 0.0576 | Church Creek | 92082 | Solar | Complete | In Progress
689 | 20230830001 | 0.15 | Columbia Industrial Park | 78602 | Solar | Complete | Complete
D23 | DISIS Cluster 2023 Queue posted on OASIS for details |  |  |  |  | N/A | In Progress
690 | 20230911001 | 0.0046 | Bosch | 90782 | Solar | Complete | Complete
691 | 20230911002 | 0.02083 | Sparkleberry | 64012 | Solar | Complete | Complete
692 | 20230911003 | 0.0692 | Cainhoy Transmission | 95762 | Solar | Complete | Withdrawn
693 | 20230913001 | 0.12 | Leesville City | 10052 | Solar | Complete | Withdrawn
694 | 20230913002 | 0.036 | Leesville City | 10052 | Solar | In Progress | Withdrawn
695 | 20230913003 | 0.036 | Leesville City | 10052 | Solar | In Progress | Withdrawn
696 | 20230928001 | 0.07104 | Bowman | 38702 | Solar | Complete | In Progress
697 | 20231002001 | 0.06688 | Bowman | 38702 | Solar | In Progress | Withdrawn
698 | 20231005001 | 0.06314 | Charleston Airport | 91402 | Solar | Complete | Complete
699 | 20231006001 | 0.03 | Meeting Street | 4572 | Solar | Complete | Complete
700 | 20231010001 | 0.0052 | Polaris | 91422 | Solar | Complete | Withdrawn
701 | 20231011001 | 0.0041 | Palmetto Commerce | 52432 | Solar | Complete | Complete
702 | 20231011002 | 0.039427 | Aiken Hampton Avenue | 18012 | Solar | Complete | Complete
703 | 20231018001 | 0.05 | Ladson | 13042 | Solar | Complete | In Progress
704 | 20231101001 | 0.06 | Holly Hill | 20052 | Solar | Complete | Withdrawn
705 | 20231206001 | 0.0044 | Bosch | 90782 | Solar | Complete | Complete
706 | 20231214001 | 0.3 | Charleston Airport | 91202 | Solar | Complete | In Progress
707 | 20231214002 | 0.25 | Charleston Airport | 91202 | Solar | Complete | In Progress
708 | 20231218001 | 0.02334 | Isle of Palms | 95432 | Solar/Batteries | Complete | Complete
709 | 20231219001 | 0.2 | Charleston Airport | 91202 | Solar | Complete | Complete
710 | 20231219002 | 0.2 | Charleston Airport | 91202 | Solar | Complete | In Progress
711 | 20231220001 | 0.5 | Charleston Airport | 91202 | Solar | Complete | Withdrawn
712 | 20231220002 | 0.46 | Charleston Airport | 91202 | Solar | Complete | Withdrawn
713 | 20240119001 | 0.021 | Saint Andrews | 11502 | Solar/Batteries | Complete | Complete
714 | 20240123001 | 0.0448 | Harbison | 77322 | Solar | Complete | Complete
715 | 20240126001 | 0.0081 | Palmetto Commerce | 52432 | Solar | Complete | In Progress
716 | 20240201001 | 0.038016 | Maryville | 90122 | Solar | Complete | Complete
717 | 20240208001 | 0.0237 | Lexington Transmission | 24862 | Solar/Batteries | In Progress | Withdrawn
718 | 20240301001 | 0.02516 | Okatie | 61312 | Solar/Batteries | Complete | Complete
719 | 20240307001 | 0.06 | Bosch | 90782 | Solar | Complete | Complete
720 | 20240327001 | 0.1 | Aiken Southside | 35022 | Solar | In Progress | Withdrawn
721 | 20240401001 | 0.0236 | Polaris | 91422 | Solar/Batteries | Complete | In Progress
722 | 20240402001 | 0.02107 | Riverside Terrace | 11552 | Solar/Batteries | Complete | Complete
723 | 20240403001 | 0.05 | North Rhett | 90482 | Solar | Complete | In Progress
724 | 20240403002 | 0.0499 | Callawassie Island | 60742 | Solar | Complete | Complete
725 | 20240506001 | 0.061 | Charlotte Street | 00212 | Solar/Batteries | In Progress | Withdrawn
726 | 20240508001 | 0.0037 | Bosch | 90782 | Solar | Complete | Complete
727 | 20240508002 | 0.025 | Aiken Southside | 35042 | Solar | Complete | In Progress
728 | 20240603001 | 0.02288 | Belvedere | 30022 | Solar | Complete | Withdrawn
729 | 20240610001 | 0.02528 | Charlotte Street | 00202 | Solar/Batteries | Complete | Withdrawn
730 | 20240617001 | 0.075 | Church Creek | 90822 | Solar | Complete | In Progress
731 | 20240620001 | 0.0076 | Palmetto Commerce | 52432 | Solar | Complete | Complete
732 | 20240620002 | 0.0055 | Bosch | 90782 | Solar | Complete | In Progress
733 | 20240701001 | 0.0211 | Fort Johnson | 90422 | Solar/Batteries | Withdrawn | Withdrawn
734 | 20240710001 | 0.0061 | Polaris | 91422 | Solar | Complete | Complete
735 | 20240711001 | 0.023 | Cainhoy | 95762 | Solar/Batteries | Withdrawn | Withdrawn
736 | 20240718001 | 0.08424 | Parr Hill | 11252 | Solar/Batteries | Withdrawn | Withdrawn
737 | 20240718002 | 0.0087 | Palmetto Commerce | 52432 | Solar | Complete | In Progress
738 | 20240722001 | 0.023 | Hamlin | 90012 | Solar | Complete | Complete
739 | 20240723001 | 0.0242 | Hamlin | 90952 | Solar | Complete | In Progress
740 | 20240723002 | 0.24 | James Island | 03582 | Solar | Complete | In Progress
741 | 20240725001 | 0.0346 | Cainhoy | 95762 | Solar | Complete | In Progress
742 | 20240729001 | 0.0038 | Bosch | 90782 | Solar | Complete | Complete
743 | 20240801001 | 0.0052 | Bosch | 90782 | Solar | Complete | Complete
744 | 20240805001 | 0.1 | Rader | 16412 | Solar | Complete | In Progress
745 | 20240805002 | 0.023 | Boone Hill | 70012 | Solar/Batteries | Withdrawn | Withdrawn
746 | 20240813001 | 0.0251 | Cromer Road | 12942 | Solar | Complete | In Progress
747 | 20240822001 | 0.023 | Lexington West Side | 81512 | Solar | Complete | In Progress
748 | 20240826001 | 0.023 | Pritchardville | 61222 | Solar/Batteries | Complete | Withdrawn
D24 | DISIS Cluster 2024 Queue posted on OASIS for details |  |  |  |  | N/A | In Progress
749 | 20240909001 | 0.02735 | Pine Hill | 70632 | Solar/Batteries | Complete | In Progress
750 | 20240911001 | 0.02224 | Okatie | 61312 | Solar/Batteries | Complete | In Progress
751 | 20240913001 | 0.023 | Boone Hill | 70012 | Solar/Batteries | Withdrawn | Withdrawn
752 | 20240920001 | 0.023 | Thomas Island | 95332 | Solar/Batteries | Complete | In Progress
753 | 20240920002 | 0.06 | Ten Mile | 90192 | Solar | Withdrawn | Withdrawn
754 | 20241001001 | 0.45 | Summerville Industrial Park | 70042 | Solar | In Progress | In Progress
755 | 20241007001 | 1 | Winnsboro | 14312 | Solar | In Progress | In Progress
756 | 20241015001 | 0.02236 | White Gables | 70412 | Solar/Batteries | In Progress | In Progress
757 | 20241021001 | 0.43 | Charleston Airport | 91202 | Solar | In Progress | In Progress
758 | 20241021002 | 0.43 | Charleston Airport | 91202 | Solar | In Progress | In Progress
759 | 20241101001 | 0.03147 | Blythewood | 11202 | Solar/Batteries | In Progress | Withdrawn
760 | 20241101002 | 0.02686 | Parr Hill | 13482 | Solar/Batteries | In Progress | In Progress
761 | 20241104001 | 0.04 | Sullivans Island | 00922 | Solar/Batteries | In Progress | In Progress
762 | 20241108001 | 0.023 | Chapin Business Park | 20182 | Solar | In Progress | In Progress
763 | 20241118001 | 0.0226 | Isle of Palms | 95432 | Solar/Batteries | In Progress | In Progress
764 | 20241119001 | 0.02255 | Blythewood | 11202 | Solar/Batteries | In Progress | In Progress