Schedule 4

LEVELS 2 AND 3 INTERCONNECTION REQUEST FORM SMALL GENERATING FACILITY LESS THAN 20 MW

Section 1. Interconnection Customer Information

Name:

Contact person:

Mailing address:

City: State: Zip:

Utility and account number:

Energy Service Provider and account number:

Facility address:

Telephone (Day):				 (Evening):

Fax:					 E-Mail:

Alternative contact information

Contact Name:

Title:

Mailing Address: _________________________________________________

City: State: Zip:

Telephone (Day):				(Evening):

Fax:					 E-Mail:

Application is for:  New Small Generating Facility         	Capacity addition

If capacity addition to existing facility, please describe:

The Small Generating Facility will supply: Interconnection Customer      others

Point of Interconnection:

Interconnection Customer's requested in-service date:

Section 2. Processing Fee or Deposit

If the Interconnection Request is submitted as Level 2, the nonrefundable processing fee payable to the utility is $500.

If the Interconnection Request is submitted as Level 3, the Interconnection Customer shall submit to the Utility the deposit is $1,000, or 50% of the estimated cost of the Feasibility Study, whichever is less.

Section 3. Small Generating Facility Information

Data apply only to the small generating facility, not the interconnection facilities.

Energy Source: Solar ___ Wind ___ Hydro ___ Hydro Type:_________

Diesel ___ Natural Gas ___ Fuel Oil ___ Other (describe):

Prime Mover: Fuel Cell__ Recip Engine__ Gas Turb__ Steam Turb__ Microturbine__ PV__ Other (describe)

Type of Generator: Synchronous ____Induction ____ Inverter

Generator Nameplate Rating: 	kW 	Generator Nameplate kVAR: ______

Interconnection customer or customer-site load: _________________kW

Typical reactive load: _________________

Maximum physical export capability requested: ______________ kW

List components of the small generating facility equipment package that are currently certified:

| Equipment | Certifying Entity |
| --- | --- |
| 1.____________________________ | 1.____________________________ |
| 2.____________________________ | 2.____________________________ |
| 3.____________________________ | 3.____________________________ |
| 4.____________________________ | 4.____________________________ |
| 5.____________________________ | 5.____________________________ |

Is the prime mover compatible with the certified protective relay package? Yes ____ No ____

Generator (or solar collector)

Manufacturer, model name & number:

Version Number:

Nameplate Output Power Rating in kW: (Summer) _________ (Winter)

Nameplate Output Power Rating in kVA: (Summer) ________ (Winter)

Individual Generator Power Factor

Rated Power Factor: Leading: 			Lagging:

Total number of generators in wind farm to be interconnected pursuant to this

Interconnection Request: Elevation: ____ ___Single phase        Three phase

Inverter manufacturer, model name & number:

List of adjustable set points for the protective equipment or software:

Note: A completed power systems load flow data sheet must be supplied with the Interconnection Request.

Small Generating Facility Characteristic Data (for inverter-based machines)

Max design fault contribution current:	 Instantaneous_____ or RMS

Harmonics characteristics:

Start-up requirements:

Small Generating Facility Characteristic Data (for rotating machines)

RPM Frequency:

Neutral Grounding Resistor (If Applicable):

Synchronous Generators:

Direct Axis Synchronous Reactance, Xd:			P.U.

Direct Axis Transient Reactance, X'd:			P.U.

Direct Axis Subtransient Reactance, X"d:			P.U.

Negative Sequence Reactance, X2:				P.U.

Zero Sequence Reactance, X0:				P.U.

KVA Base:

Field Volts:

Field Amperes:

Induction Generators:

Motoring Power (kW):

I2t or K (Heating Time Constant):

Rotor Resistance, Rr:

Stator Resistance, Rss:

Stator Reactance, Xss :

Rotor Reactance, Xrr:

Magnetizing Reactance, Xmm:

Short Circuit Reactance, Xdd'':

Exciting Current:

Temperature Rise:

Frame Size:

Design Letter:

Reactive Power Required In Vars (No Load):

Reactive Power Required In Vars (Full Load):

Total Rotating Inertia, H: 			 Per Unit on kVA base

Excitation and Governor System Data for Synchronous Generators Only:

Provide appropriate IEEE model block diagram of excitation system, governor system and power system stabilizer (PSS) in accordance with the regional reliability council criteria. A PSS may be determined to be required by applicable studies. A copy of the manufacturer's block diagram may not be substituted.

Section 4. Customer's Interconnection Facilities Information

Will a transformer be used between the generator and the point of interconnection? Yes 		 No

Will the transformer be provided by the interconnection customer? Yes 	 No

Transformer Data (If applicable, for interconnection customer-owned transformer):

Is the transformer: single phase 	 three phase 	     Size: kVA

Transformer Impedance:		% on			 kVA base

If Three Phase:

Transformer Primary:		    Volts	Delta	        Wye	   Wye Grounded

Transformer Secondary: _____Volts _____ Delta _____Wye _____ Wye Grounded

Transformer Tertiary:_____       Volts _____ Delta ____ Wye _____Wye Grounded

Transformer Fuse Data (If applicable, for interconnection customer-owned fuse):

(Attach copy of fuse manufacturer's minimum melt and total clearing time-current curves)

Manufacturer: ____________ Type: __________ Size: ______Speed: _______

Interconnecting Circuit Breaker (if applicable):

Manufacturer: ____________________________ Type:

Load Rating (Amps): ______ Interrupting Rating (Amps): _______ Trip Speed (Cycles): ______

Interconnection Protective Relays (If Applicable):

If microprocessor-controlled:

Manufacturer: _________________________ Type: _________________	 Model No. ___________ Firmware ID: _____________

Instruction Book No.

List of functions and adjustable setpoints for the protective equipment or software:

| Setpoint Function | Minimum | Maximum |
| --- | --- | --- |
| 1.________________________________ | ____________ | __________ |
| 2.________________________________ | ____________ | __________ |
| 3.________________________________ | ____________ | __________ |
| 4.________________________________ | ____________ | __________ |
| 5.________________________________ | ____________ | __________ |
| 6.________________________________ | ____________ | __________ |

If Discrete Components:

(Enclose copy of any proposed time-overcurrent coordination curves)

Manufacturer:					Type:				 Style/Catalog No.: ______		 Proposed Setting:

Manufacturer:					Type:				 Style/Catalog No.:			 Proposed Setting:

Manufacturer:					Type:				 Style/Catalog No.: ______		 Proposed Setting:

Manufacturer:					Type:				 Style/Catalog No.:			 Proposed Setting:

Manufacturer:					Type:

Style/Catalog No.:			 Proposed Setting:

Current Transformer Data (If applicable):

(Enclose copy of manufacturer's excitation and ratio correction curves)

Manufacturer:

Type: _______		 Accuracy Class: ________

Proposed Ratio Connection: ____

Manufacturer:

Type: _______		 Accuracy Class: ________

Proposed Ratio Connection: ____

Potential Transformer Data (If applicable):

Manufacturer:

Type: _______		 Accuracy Class: ________

Proposed Ratio Connection: ____

Manufacturer:

Type: _______		 Accuracy Class: ________

Proposed Ratio Connection: ____

Section 5. General Information

Enclose a copy of the site electrical one-line diagram showing the configuration of the small generating facility equipment, current and potential circuits, and protection and control schemes.

Enclose a copy of any site documentation that indicates the precise physical location of the proposed SGF (e.g., United States Geological Survey topographic map or other diagram or documentation).

Describe the proposed location of the protective interface equipment on the property:

Enclose a copy of any site documentation that describes and details the operation of the protection and control schemes. Is available documentation enclosed?

Yes ____No ____

Enclose copies of schematic drawings for all protection and control circuits, relay current circuits, relay potential circuits, and alarm/monitoring circuits (if applicable).

Are schematic drawings enclosed?

Yes ____No ____

Section 6.  Interconnection Customer Signature

I hereby certify that, to the best of my knowledge, all the information provided in this Interconnection Request is true and correct.

Signature: 							 Date:

Section 7. Utility Acknowledgement of Receipt

Signed:

Title:

Utility:

Date:

Utility signature signifies only receipt of this form, in compliance with 20VAC5-314-50 of the State Corporation Commission's Regulations Governing Interconnection of Small Electrical Generators.